## START HERE
North American Wholesale Electricity Demand Response Program Comparison
2018 Edition (Updated November 2018)
This document contains summary information for wholesale electricity demand response programs, products and services administered by the ISOs and RTOs in North America, and provides a high-level overview of more in-depth rules and procedures. In no case should this information be used in place of the official documentation. Additionally, Demand Response markets – as well as market rules, tariffs, manuals and protocols – are continually evolving and subject to change. Therefore readers should be aware that the information contained in this document may be out of date.

## Product & Service Definitions
ISO/RTO Product / Service | [5 empty] | Product / Service Features | [14 empty] | Deployment Type |  |  | Market Participant Roles | [5 empty] | Communications Technologies & System References [See Acronyms Tab] |  |  |  |  | Event Timing |  |  |  | Telemetry | [6 empty] | After-The-Fact Metering | [7 empty] | Available Performance Evaluation Methods
Region | Acronym | Name | Service Type | Begin Date | End Date | Minimum Eligible Resource Size | Minimum Reduction Amount | Aggregation Allowed | Participation | Response Required | Primary Driver | Trigger Logic | Total Demand Response Contribution Limit (%) | Minimum Sustained Response Period | Maximum Sustained Response Period | Maximum Deployments per Availability Window | Obligation Period | Availability Window | Demand Resource Availability Measurement | Transparency of Requirements (Demonstrated through ISO/RTO Web Link) | Resource-Specific | Bulk | Self | Service Provider (SP) | Load Serving Entity (LSE) | Scheduling Entity (SE) | Designated Dispatch Entity (DDE) | Transmission / Distribution Service Provider (TDSP) | Metering Authority (MA) | Enrollment & Qualification | Forward Scheduling & Award Notification | Deployment | Real-Time Communications | (After-The-Fact) Measurement & Performance Evaluation | Advance Notification(s) | Ramp Period | Sustained Response Period | Recovery Period | Telemetry Requirement | Telemetry Accuracy | Telemetry Reporting Interval | Other Telemetry Measurements | Communication Protocol | Governor Control Equivalent | On-Site Generation Telemetry Requirement | After-the-Fact Metering Requirement | Meter Accuracy | Clock/Time Accuracy | Details of Meter/Equipment Standards | Meter Data Reporting Deadline | Meter Data Reporting Interval | Validating, Editing & Estimating (VEE) Method | On-Site Generation Meter Requirement
AESO
AESO | DOS | Demand Opportunity Service | Capacity | Active | None | None | None | Yes | Voluntary | Mandatory | Reliability | Operational Procedure | N / A | N / A | N / A | N / A | N / A | N / A | Telemetry | Information Document Short Term Adequacy and Supply Shortfall |  |  |  | Market Participant | N / A | N / A | SC | DFO / TFO | MDM | Paper Forms | N / A | Verbal Dispatch Instruction | SCADA | N / A | None | - 7 Minutes (Term & 7 Minute Service) - 1 Hour (1 Hour Service) | 8 Hours (Minimum) | Based on Resource Parameters | Yes | ± 2% | 4 Seconds (or on threshold crossing) | Quality check on all points from site | ICCP or Internet | N / A | Yes | Yes | ± 2 % | N / A | Measurement Canada | Monthly | 15 Minutes | Standard VEE process | N / A | AESO-MBL
AESO | LSSi | Load Shed Service for Imports | Reserve | Active | None | 1 MW | 1 MW | Yes | Voluntary | Mandatory | Reliability | Frequency ≤ 59.50 Hz at high import levels into the Alberta system and operational Procedure | N / A | N / A | N / A | N / A | Between arming and disarming, or 60 mins after being armed (95 mins if directed at XX:35) | N / A | "Actual", "Offered", and "Armed" Volumes reported | Load Shed Service for Import (LSSi) Requirements |  | ü |  | Market Participant | N / A | Market Participant | SC | DFO / TFO | ISO | Paper Forms | SCADA | SCADA | SCADA | SCADA | None | 0.2 seconds at 59.5(or less) Hz | As directed or after 60 mins | Not Monitored | Yes | ± 2% | 4 Seconds (or on threshold crossing) | Quality check on all points from site | ICCP or Internet | N / A | Yes | No | N / A | N / A | N / A | N / A | N / A | N / A | N / A | AESO-MBMA
AESO | SR | Spinning Reserves | Reserve | Active | None | 10 MW | 10 MW | No | Voluntary | Mandatory | Reliability | Operational Procedure | N / A | N / A | N / A | N / A | Specified in the contract, multiple hours | Specified in the contract, multiple hours | Telemetry | Spinning Reserve Technical Requirements and Performance Standards |  | ü |  | Pool Participant | N / A | Market Participant | SC | DFO / TFO | ISO | Paper Forms | NGX | Internet Dispatch [ADAMS] | SCADA | SCADA | None | 10 minutes | 1 Hour (Minimum) | Based on Resource Parameters | Yes | ± 2% | 4 Seconds (or on threshold crossing) | Quality check on all points from site | ICCP or Internet | Yes | Yes | No | N / A | N / A | N / A | N / A | N / A | N / A | N / A | AESO-MBMA
AESO | SUP | Supplemental Operating Reserves | Reserve | Active | None | 5 MW | 5 MW | Yes | Voluntary | Mandatory | Reliability | Operational Procedure | N / A | N / A | N / A | N / A | Specified in the contract, multiple hours | Specified in the contract, multiple hours | Telemetry | Supplemental Reserve Technical Requirements and Performance Standards |  |  |  | Pool Participant | N / A | Market Participant | SC | DFO / TFO | ISO | Paper Forms | NGX | Internet Dispatch [ADAMS] | SCADA | SCADA | None | 10 minutes | 1 Hour (Minimum) | Based on Resource Parameters | Yes | ± 2% | 4 Seconds (or on threshold crossing) | Quality check on all points from site | ICCP or Internet | N / A | Yes | No | N / A | N / A | N / A | N / A | N / A | N / A | N / A | AESO-MBMA
AESO | VLCP | Voluntary Load Curtailment Program | Energy | Active | None | None | None | Yes | Voluntary | Response Required | Reliability | Operational Procedure | N / A | N / A | 4 hours | N / A | N / A | N / A | Telemetry | Information Document Short Term Adequacy and Supply Shortfall |  |  |  | Market Participant | N / A | N / A | SC | DFO / TFO | ISO | Paper Forms | N / A | Verbal Dispatch Instruction | N / A | N / A | None | one hour, unless customer declines dispatch | As Scheduled / Dispatched | Based on Resource Parameters | Limited | ± 2% | 4 Seconds (or on threshold crossing) | Quality check on all points from site | ICCP or Internet | N / A | Yes (Selected Sites) | Yes | N / A | N / A | ISO specified (contract) | N / A | N / A | N / A | N / A | AESO-MBMA
AESO | GLR | Guaranteed Load Reduction | Energy / Capacity | 2021-11-01 | None | 1 MW | 1 MW | Yes | Voluntary | Mandatory | Economic | Energy Price > Offer Price | N/A | N/A | N/A | N/A | Annual (capacity) | All hours | Telemetry | Drafting in works, see AESO website: https://www.aeso.ca/rules-standards-and-tariff/iso-rules/ |  |  |  | Pool Participant | N / A | N / A | SC | DFO / TFO | MDM | Paper Forms | Capacity Market Platform | Internet Dispatch [ADAMS] | SCADA | SCADA (Energy) / Metered Volume (Capacity) | None, unless top of hour dispatch | Ramp rate provided in energy offer | As dispatched | N/A | Yes | ± 2% | 4 Seconds (or on threshold crossing) | Quality check on all points from site | ICCP or Internet | N / A | Yes (Selected Sites) | Yes | ± 2 % | N / A | Measurement Canada | Monthly | 15 Minutes | Standard VEE process | N / A | AESO-MBL
AESO | FCL | Firm Consumption Level | Energy / Capacity | 2021-11-01 | None | 1 MW | 1 MW | Yes | Voluntary | Mandatory | Ecomonic | Energy Price > Offer Price | N/A | N/A | N/A | N/A | Annual (capacity) | All hours | Telemetry | Drafting in works, see AESO website: https://www.aeso.ca/rules-standards-and-tariff/iso-rules/ |  |  |  | Pool Participant | N / A | N / A | SC | DFO / TFO | MDM | Paper Forms | Capacity Market Platform | Internet Dispatch [ADAMS] | SCADA | SCADA (Energy) / Metered Volume (Capacity) | None, unless top of hour dispatch | Ramp rate provided in energy offer | As dispatched | N/A | Yes | ± 2% | 4 Seconds (or on threshold crossing) | Quality check on all points from site | ICCP or Internet | N / A | Yes (Selected Sites) | Yes | ± 2 % | N / A | Measurement Canada | Monthly | 15 Minutes | Standard VEE process | N / A | AESO-MBL
CAISO
CAISO | PDR | Proxy Demand Resource | Energy | Active | None | 100 kW | 10 kW | Yes | Voluntary | Mandatory | Economic | Energy Price > Offer Price | N / A | 5 min, 15 min, 60 min (based on bidding options) | N / A | N / A | Scheduled Interval | Scheduled Interval | Not Monitored unless over 10 MW | http://www.caiso.com/participate/Pages/Load/Default.aspx |  |  |  | DRP | IOU/CCA ESP (unbundled cust.) | SC | DRP SC | UDC | SC Metered Entity | Web User Interface [DRS] | Web User Interface [SIBR and CMRI] | Web User Interface [ADS] | ICCP, DNP3, Dispersive ISDN | Web Service [MRI-Settlements] | Day-Ahead by (~ 1:00 PM) Real-time (Based on bidding options): 2.5 min, 22.5 min, 52.5 min. | Based on Resource Parameters | 5 min, 15 min, 60 min (based on bidding options) | Based on Resource Parameters | N/A less than 10 MW | ± 2 % | 5 min Load to RIG; 4 sec RIG to CAISO EMS | None | ICCP, DNP3, Dispersive ISDN | N / A | No | Yes | ± .25 % | Accuracy of the meter clock must be within 0.02% (2 minutes per week) at ambient temperature | "Local Regulatory Authority" certification or CAISO certified meter standards | Event Day + 7 Business Days (Estimate) / 43 Calendar Days (Final) | 5 min (could be parsed from 15 min interval metering) | The Scheduling Coordinator is responsible for the Validating, Editing, estimation of meter data, and baseline calculations. | Yes (when using MGO) | Day matching (5-in-10, 10-in-10) Weather matching Control Group MGO
CAISO | PDR | Proxy Demand Resource | Spin/ Nonspin Reserve | Active | None | 500 kW | 10 kW | Yes | Voluntary | Mandatory | Economic | Capacity Bid and separate Energy Bid > Offer Price | N / A | N / A | N / A | N / A | Scheduled Interval | Scheduled Interval | Telemetry | http://www.caiso.com/participate/Pages/Load/Default.aspx |  |  |  | DRP | IOU/CCA ESP (unbundled cust.) | SC | DRP SC | UDC | SC Metered Entity | Web User Interface [DRS] | Web User Interface [SIBR and CMRI] | Web User Interface [ADS] | ICCP, DNP3, Dispersive ISDN | Web Service [MRI-Settlements] | Day-Ahead by (~ 1:00 PM) Real-time (Based on bidding options): 2.5 min, 22.5 min, 52.5 min. | 10 Minutes | 30 min (minimum) | Based on Resource Parameters | Yes | ± 2 % | 1 Min Load to RIG; 4 sec RIG to CAISO EMS | None | ICCP, DNP3, Dispersive ISDN | N / A | No | Yes | ± .25 % | Accuracy of the meter clock must be within 0.02% (2 minutes per week) at ambient temperature | "Local Regulatory Authority" certification or CAISO certified meter standards | Event Day + 7 Business Days (Estimate) / 43 Calendar Days (Final) | 5 min | The Scheduling Coordinator is responsible for the Validating, Editing, estimation of meter data, and baseline calculations. | Yes (when using MGO) | [Capacity Check] - CAISO-MBMA [Energy Payment] - Day matching (5-in-10, 10-in-10) Weather matching Control Group MGO
ERCOT
ERCOT | ERS-10 | Non-Weather Sensitive ERS - 10 | Capacity | Active | None | 100 kW | 100 kW | Yes | Voluntary | Mandatory | Reliability | Operational Procedure | N / A | N / A | 12 hours | N / A | ERS Time Periods Awarded | ERS Time Periods Awarded | Calculated after the Commitment Period | http://www.ercot.com/services/programs/load/eils/ |  |  |  | QSE | Competitive Retailer or Non-Opt-In Entity (not relevant to DR) | QSE | QSE | TDSP | TDSP or Licensed Professional Engineer | Electronic File Submission | Web Page (MIS) | Verbal Dispatch Instruction & XML Message | None | Web Page (MIS) | None | 10 Minutes | As Dispatched / Recalled | 10 Hours | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % | 5% relative to NIST Atomic Clock | MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12; Guidelines for non-IDR metered Load aggregations posted as separate document at http://www.ercot.com/services/programs/load/eils/ | Contract Period End + 35 Days | 15 Minutes | Standard VEE by meter-reading entity | 15-minute metering for ERS Generators | ERCOT-Regression / ERCOT-Mid 8 of 10 / ERCOT-Matching Day Pair / ERCOT Control Group/ERCOT-Alternate / ERCOT Nearest 20 / Meter Before-Meter After
ERCOT | ERS-30 | Non-Weather Sensitive ERS - 30 | Capacity | Active | None | 100 kW | 100 kW | Yes | Voluntary | Mandatory | Reliability | Operational Procedure | N / A | N / A | 12 hours | N / A | ERS Time Periods Awarded | ERS Time Periods Awarded | Calculated after the Commitment Period | http://www.ercot.com/services/programs/load/eils/ |  |  |  | QSE | Competitive Retailer or Non-Opt-In Entity (not relevant to DR) | QSE | QSE | TDSP | TDSP or Licensed Professional Engineer | Electronic File Submission | Web Page (MIS) | Verbal Dispatch Instruction & XML Message | None | Web Page (MIS) | None | 30 Minutes | As Dispatched / Recalled | 10 Hours | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % | 5% relative to NIST Atomic Clock | MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12; Guidelines for non-IDR metered Load aggregations posted as separate document at http://www.ercot.com/services/programs/load/eils/ | Contract Period End + 35 Days | 15 Minutes | Standard VEE by meter-reading entity | 15-minute metering for ERS Generators | ERCOT-Regression / ERCOT-Mid 8 of 10 / ERCOT-Matching Day Pair / ERCOT Control Group/ERCOT-Alternate / ERCOT Nearest 20 / Meter Before-Meter After
ERCOT | ERS-WS10 | Weather Sensitive ERS - 10 | Capacity | Active | None | 500 kW | 500kW | Yes | Voluntary | Mandatory | Reliability | Operational Procedure | N / A | N / A | 3 hours | 8 | ERS Time Periods Awarded | ERS Time Periods Awarded | Calculated after the Commitment Period | http://www.ercot.com/services/programs/load/eils/ |  |  |  | QSE | Competitive Retailer or Non-Opt-In Entity (not relevant to DR) | QSE | QSE | TDSP | TDSP or Licensed Professional Engineer | Electronic File Submission | Web Page (MIS) | Verbal Dispatch Instruction & XML Message | None | Web Page (MIS) | None | 10 Minutes | As Dispatched / Recalled | 10 Hours | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % | 5% relative to NIST Atomic Clock | MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12; Guidelines for non-IDR metered Load aggregations posted as separate document at http://www.ercot.com/services/programs/load/eils/ | Contract Period End + 35 Days | 15 Minutes | Standard VEE by meter-reading entity | N / A | ERCOT-Regression / ERCOT-Mid 8 of 10 / ERCOT-Matching Day Pair / ERCOT Control Group / ERCOT Nearest 20 / Meter Before-Meter After
ERCOT | ERS-WS30 | Weather Sensitive ERS - 30 | Capacity | Active | None | 500 kW | 500kW | Yes | Voluntary | Mandatory | Reliability | Operational Procedure | N / A | N / A | 3 hours | 8 | ERS Time Periods Awarded | ERS Time Periods Awarded | Calculated after the Commitment Period | http://www.ercot.com/services/programs/load/eils/ |  |  |  | QSE | Competitive Retailer or Non-Opt-In Entity (not relevant to DR) | QSE | QSE | TDSP | TDSP or Licensed Professional Engineer | Electronic File Submission | Web Page (MIS) | Verbal Dispatch Instruction & XML Message | None | Web Page (MIS) | None | 30 Minutes | As Dispatched / Recalled | 10 Hours | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % | 5% relative to NIST Atomic Clock | MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12; Guidelines for non-IDR metered Load aggregations posted as separate document at http://www.ercot.com/services/programs/load/eils/ | Contract Period End + 35 Days | 15 Minutes | Standard VEE by meter-reading entity | N / A | ERCOT-Regression / ERCOT-Mid 8 of 10 / ERCOT-Matching Day Pair / ERCOT Control Group / ERCOT Nearest 20 / Meter Before-Meter After
ERCOT | Load Resource (RRS-UFR) | Non-Controllable Load Resources providing Responsive Reserve Service -- Under Frequency Relay Type | Reserve | Active | None | 100 kW | 100 kW | No | Voluntary | Mandatory | Reliability | Operational Procedure or Automatic Response | 50% | N / A | N / A | N / A | Scheduled Interval (hourly) | Scheduled Interval (hourly) | Telemetry | http://www.ercot.com/services/programs/load/ |  |  |  | Resource Entity | Competitive Retailer or Non-Opt-In Entity (not relevant to DR) | QSE | QSE | TDSP | TDSP | Electronic File Submission | Web Page [MIS] / XML Notification [MIS] | Verbal Dispatch Instruction & XML Message / Under-Freq. Relay Trip | ICCP | EDI Transaction | None | 10 Minutes (Verbal) 30 Cycles (Relay) | As Dispatched / Recalled | 3 Hours | Yes | ± 3 % | 2 Seconds | Multiple Data Points including UFR Status and Breaker Status | ICCP | N / A | N / A | Yes | ± 2 % | 5% relative to NIST Atomic Clock | MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12; UFRs must be set no lower than 59.7 Hz and must be set to trip for a frequency drop of no more than 20 cycles | Monthly | 15 Minutes | Standard VEE by meter-reading entity | N / A | ERCOT-RRS (NCLR)
ERCOT | Load Resource (RRS-CLR) | Controllable Load Resources providing Responsive Reserve Service | Reserve | 2014-06-01 | None | 100 kW | 100 kW | No | Voluntary | Mandatory | Reliability | Operational Procedure or Automatic Response | N / A | N / A | N / A | N / A | Scheduled Interval (hourly) | Scheduled Interval (hourly) | Telemetry | http://www.ercot.com/services/programs/load/ |  |  |  | Resource Entity | Competitive Retailer or Non-Opt-In Entity (not relevant to DR) | QSE | QSE | TDSP | TDSP | Electronic File Submission | Web Page [MIS] / XML Notification [MIS] | Governor-type Response & Automatic System Dispatch / Verbal Dispatch Instruction & XML Message | ICCP | EDI Transaction | None | Continuous primary frequency response, similar to generator governor action; and 10 minutes (1 minute to release capacity to SCED) | As Dispatched / Following SCED Base Points until Recalled | N / A | Yes | ± 3 % | 2 Seconds | Multiple Data Points | ICCP | Yes | N / A | Yes | ± 2 % | 5% relative to NIST Atomic Clock | MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12; Governor-type response requirements described at http://www.ercot.com/services/programs/load/ | Monthly | 15 Minutes | Standard VEE by meter-reading entity | N / A | ERCOT-BPD and 1 of the following for qualification to provide Reserves: ERCOT-Regression / ERCOT-Mid 8 of 10 / ERCOT-Matching Day Pair / ERCOT Control Group
ERCOT | Load Resource (NSRS-CLR) | Controllable Load Resources providing Non-Spinning Reserve Service | Reserve | 2014-06-01 | None | 100 kW | 100 kW | Yes | Voluntary | Mandatory | Reliability | Operational Procedure | N / A | N / A | N / A | N / A | Scheduled Interval (hourly) | Scheduled Interval (hourly) | Telemetry | http://www.ercot.com/services/programs/load/ |  |  |  | Resource Entity | Competitive Retailer or Non-Opt-In Entity (not relevant to DR) | QSE | QSE | TDSP | TDSP | Electronic File Submission | Web Page [MIS] / XML Notification [MIS] | XML Message | ICCP | EDI Transaction | None | 30 minutes (20 minutes to release capacity to SCED) | As Dispatched / Following SCED Base Points until Recalled | N / A | Yes | ± 3 % | 2 Seconds | Multiple Data Points | ICCP | N / A | N / A | Yes | ± 2 % | 5% relative to NIST Atomic Clock | MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12. | Monthly | 15 Minutes | Standard VEE by meter-reading entity | N / A | ERCOT-BPD and 1 of the following for qualification to provide Reserves: ERCOT-Regression / ERCOT-Mid 8 of 10 / ERCOT-Matching Day Pair / ERCOT Control Group
ERCOT | CLR (Reg) | Controllable Load Resources providing Regulation Service | Regulation | Active | None | 100 kW | 100 kW | No | Voluntary | Mandatory | Reliability | Automatic Response | N / A | N / A | N / A | N / A | Scheduled Interval (hourly) | Scheduled Interval (hourly) | Telemetry | http://www.ercot.com/services/programs/load/ |  |  |  | Resource Entity | Competitive Retailer or Non-Opt-In Entity (not relevant to DR) | QSE | QSE | TDSP | TDSP | Electronic File Submission | Web Page [MIS] / XML Notification [MIS] | Governor-type Response & Automatic Generation Control-type dispatch | ICCP | EDI Transaction | None | Effectively Immediate | Primary Frequency Response Continuous / AGC as Dispatched / Recalled | N / A | Yes | ± 3 % | 2 Seconds | Multiple Data Points | ICCP | Yes | N / A | Yes | ± 2 % | 5% relative to NIST Atomic Clock | MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12; AGC and Governor-type response requirements described at http://www.ercot.com/services/programs/load/ | Monthly | 15 Minutes | Not Applicable to Regulation Service | N / A | ERCOT-Regulation
ERCOT | CLR - Energy Only | Controllable Load Resources providing Energy via SCED Dispatch | Energy | 2014-06-01 | None | 100 kW | 100 kW | Yes | Voluntary | Mandatory | Economic | Energy Price ≥ Energy Bid Price | N / A | N / A | N / A | N / A | Any SCED-dispatched Intervals | Any Intervals with Active Bids in SCED | Telemetry | http://www.ercot.com/services/programs/load/ |  |  |  | Resource Entity | Competitive Retailer or Non-Opt-In Entity (not relevant to DR) | QSE | QSE | TDSP | TDSP | Electronic File Submission | Web Page [MIS] / XML Notification [MIS] | ICCP | ICCP | EDI Transaction | None | 5 minutes | 5 minutes | N / A | Yes | ± 3 % | 2 Seconds | Multiple Data Points | ICCP | N / A | N / A | Yes | ± 2 % | 5% relative to NIST Atomic Clock | MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12. | Monthly | 15 Minutes | Standard VEE by meter-reading entity | N / A | ERCOT-BPD
IESO
IESO | HDR (Virtual) | Hourly Demand Response | Capacity + Energy | Active | None | 1 MW | 0.1 MW | Yes | Voluntary | Mandatory | Economic | Energy Price ≥ Energy Bid Price | N/A | 1 hour | 4 hours | 1 | Seasonal (May 1 - Oct 31), (Nov 1 - Apr 30 | Summer: HE13 to HE21 Winter: HE17 to HE21 | Availability measured by participant's bid in day-ahead & real-time. | http://www.ieso.ca/sector-participants/engagement-initiatives/working-groups/demand-response-working-group |  |  |  | Participant | Not Involved | Participant | Participant | Not Involved | Participant/LDC | Electronic File Submission | Market Participant Reports Site - Private Reports Issued | Market Participant Reports Site - Private Reports Issued | N/A | Electronic File Submission | Day-Ahead or Day-At-Hand standby notification, 2.5 hour activation notice | - | At least 1 Hour | Not Monitored | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | 0.5 accuracy class of ANSI standard c12.20. | ± 5 seconds relative to IESO Meter Data collection systems | - Retail Meter with "Measurement Canada" - 0.5 accuracy class of ANSI standard c12.20. | No later than the 6th business day before the end of the following month | 5 Minutes | DR Audit Process | No | IESO -HDR
IESO | DL (with a DR capacity obligation) | Dispatchable Load offers into 5-minute energy market | Capacity | Active | None | 1 MW | Greater of +/-10 MW or 2% of previous interval dispatch | No | Voluntary | Mandatory | Economic | Energy Price ≥ Energy Bid Price | N/A | 5 minutes | N/A | N/A | Seasonal (May 1 - Oct 31), (Nov 1 - Apr 30 | Summer: HE13 to HE21 Winter: HE17 to HE21 | Availability measured by participant's bid in day-ahead & real-time. | http://www.ieso.ca/sector-participants/engagement-initiatives/working-groups/demand-response-working-group |  |  |  | Participant | Not Involved | Participant | Participant | Not Involved | IESO | Electronic File Submission | Participant Workstation and Private Reports Issued | Participant Workstation | Web-Based Message Exchange System + SCADA Metering | MV90 | 5-minute | 5-minute | 5-minute dispatch | Not Monitored | Yes | ± 2 % | 2-10 Seconds (per size of facility) | None | SCADA | N / A | No | Yes | 0.2 accuracy class of ANSI standard c12.20. | ± 5 seconds relative to IESO Meter Data collection systems | - IESO Wholesale Revenue Metering Standards - "Measurement Canada" - 0.2 accuracy class of ANSI standard c12.20. | Daily (Directly Connected) | 5 Minutes | Standard VEE process by IESO meter-reading (for directly-connected loads) | Yes | IESO-DL
IESO | DL (without a DR capacity obligation) | Dispatchable Load offers into 5-minute energy market | Energy | Active | None | 1 MW | Greater of +/-10 MW or 2% of previous interval dispatch | No | Voluntary | Mandatory | Economic | Energy Price ≥ Energy Bid Price | N/A | 5 minutes | N/A | N/A | No obligation to submit bids. | N / A | Telemetry | http://www.ieso.ca/-/media/Files/IESO/Document-Library/training/QT-Dispatchable-Loads.pdf?la=en |  |  |  | Participant | Not Involved | Participant | Participant | Not Involved | IESO | Electronic File Submission | Participant Workstation | Participant Workstation | Web-Based Message Exchange System + SCADA Metering | MV90 | 5-minute | 5-minute | 5-minute dispatch | Not Monitored | Yes | ± 2 % | 2-10 Seconds (per size of facility) | None | SCADA | N / A | No | Yes | 0.2 accuracy class of ANSI standard c12.20. | ± 5 seconds relative to IESO Meter Data collection systems | - IESO Wholesale Revenue Metering Standards - "Measurement Canada" - 0.2 accuracy class of ANSI standard c12.20. - 0.3 accuracy class IT | Daily (Directly Connected) | 5 Minutes | Standard VEE process by IESO meter-reading (for directly-connected loads) | Yes | IESO-DL
IESO | DL (without a DR capacity obligation) | Dispatchable Load offers 10 minute spinning and non-spinning operating reserve | Reserve | Active | None | 1 MW | Greater of +/-10 MW or 2% of previous interval dispatch | No | Voluntary | Mandatory | Economic | OR price ≥ OR Bid Price (Note: Energy and OR are co-optimized) | N/A | 1 hour | N/A | N/A | No obligation to submit bids. | N / A | Telemetry | http://www.ieso.ca/-/media/Files/IESO/Document-Library/training/QT-Dispatchable-Loads.pdf?la=en http://www.ieso.ca/-/media/Files/IESO/Document-Library/training/ORGuide.pdf?la=en |  |  |  | Participant | Not Involved | Participant | Participant | Not Involved | IESO | Electronic File Submission | Participant Workstation | Participant Workstation | Web-Based Message Exchange System + SCADA Metering | MV90 | 5-minute | 5-minute | 5-minute dispatch, up to 1 hour | Not Monitored | Yes | ± 2 % | 2-10 Seconds (per size of facility) | None | SCADA | N / A | No | Yes | 0.2 accuracy class of ANSI standard c12.20. | ± 5 seconds relative to IESO Meter Data collection systems | - IESO Wholesale Revenue Metering Standards - "Measurement Canada" - 0.2 accuracy class of ANSI standard c12.20. - 0.3 accuracy class IT | Daily (Directly Connected) | 5 Minutes | Standard VEE process by IESO meter-reading (for directly-connected loads) | Yes | IESO-DL
IESO | DL (without a DR capacity obligation) | Dispatchable Load offers 30 minute operating reserve | Reserve | Active | None | 1 MW | Greater of +/-10 MW or 2% of previous interval dispatch | No | Voluntary | Mandatory | Economic | OR price ≥ OR Bid Price (Note: Energy and OR are co-optimized) | N/A | 1 hour | N/A | N/A | No obligation to submit bids. | N / A | Telemetry | http://www.ieso.ca/-/media/Files/IESO/Document-Library/training/QT-Dispatchable-Loads.pdf?la=en http://www.ieso.ca/-/media/Files/IESO/Document-Library/training/ORGuide.pdf?la=en |  |  |  | Participant | Not Involved | Participant | Participant | Not Involved | IESO | Electronic File Submission | Participant Workstation | Participant Workstation | Web-Based Message Exchange System + SCADA Metering | MV90 | 5-minute | 5-minute | 5-minute dispatch, up to 1 hour | Not Monitored | Yes | ± 2 % | 2-10 Seconds (per size of facility) | None | SCADA | N / A | No | Yes | 0.2 accuracy class of ANSI standard c12.20. | ± 5 seconds relative to IESO Meter Data collection systems | - IESO Wholesale Revenue Metering Standards - "Measurement Canada" - 0.2 accuracy class of ANSI standard c12.20. - 0.3 accuracy class IT | Daily (Directly Connected) | 5 Minutes | Standard VEE process by IESO meter-reading (for directly-connected loads) | Yes | IESO-DL
ISO-NE | [30 empty] | (from IESO)
ISO-NE | DALRP / RTDR | Day-Ahead Load Response Program for RTDR | Energy | Inactive | 2012-05-31 | 100 kW | 100 kW | Yes | Voluntary | Mandatory | Economic | Day-Ahead LMP = or > Offer Price | N / A | N / A | N / A | N / A | Scheduled Interval | Scheduled Interval | Not Monitored | http://www.iso-ne.com/rules_proceds/isone_mnls/index.html |  |  |  | Lead Market Participant | Competitive Retailer (not relevant to DR) | Lead Market Participant | DDE | TDSP | DDE | Web Page [CAMS] | Web Page [EMarket] | Web Service [IBCS OS] / E-Mail | Web Service [IBCS OS] | Web Service [IBCS OS] | Day-Ahead Market Clearing (~4:00 PM) | Effectively Instantaneous | As Scheduled / Dispatched | Not Monitored | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % (± ½ % if meter is used for Distribution billing) | accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST) | (ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria) | Monthly | 5 Minutes OR 1 Hour | VEE described in ISO-NE Manual-MVDR | Yes | ISO-NE-1, ISO-NE-3, ISO-NE-4
ISO-NE | DALRP / RTPR | Day-Ahead Load Response Program for RTPR | Energy | Inactive | 2012-05-31 | 100 kW | 100 kW | Yes | Voluntary | Mandatory | Economic | Day-Ahead LMP = or > Offer Price | N / A | N / A | N / A | N / A | Scheduled Interval | Scheduled Interval | Not Monitored | http://www.iso-ne.com/rules_proceds/isone_mnls/index.html |  |  |  | Lead Market Participant | Competitive Retailer (not relevant to DR) | Lead Market Participant | DDE | TDSP | MA | Web Page [CAMS] | Web Page [EMarket] | N / A | N / A | Web Service [MRUI] | Day-Ahead Market Clearing (~4:00 PM) | Effectively Instantaneous | As Scheduled / Dispatched | Not Monitored | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % (± ½ % if meter is used for Distribution billing) | accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST) | (ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria) | Monthly | 5 Minutes OR 1 Hour | VEE described in ISO-NE Manual-MVDR | Yes | ISO-NE-Type1-Telemetry-Yes, ISO-NE-Type1-Telemetry-No, ISO-NE-BMG
ISO-NE | RTPR | Real Time Price Response Program | Energy | Inactive | 2012-05-31 | 100 kW | 100 kW | Yes | Voluntary | Voluntary | Economic | Day-Ahead or Forecast Real-Time LMP = or > $100/MWh | N / A | N / A | N / A | N / A | Scheduled Interval | Scheduled Interval | Not Monitored | http://www.iso-ne.com/rules_proceds/isone_mnls/index.html |  |  |  | Lead Market Participant | Competitive Retailer (not relevant to DR) | Lead Market Participant | DDE | TDSP | MA | Web Page [CAMS] | N / A | E-Mail [ISO-NE List Server] | N / A | Web Service [MRUI] | None | Effectively Instantaneous | As Scheduled / Dispatched | Not Monitored | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % (± ½ % if meter is used for Distribution billing) | accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST) | (ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria) | Monthly | 1 Hour | VEE described in ISO-NE Manual-MVDR | Yes | ISO-NE-Type1-Telemetry-Yes, ISO-NE-Type2-Telemetry-Yes, ISO-NE-BMG
ISO-NE | RTDR | Real Time Demand Response Resource | Capacity | Inactive | 2018-05-31 | 100 kW | 1 kW | Yes | Voluntary | Mandatory | Reliability | Dispatched when Operating Procedure 4 Action 2 is implemented | N / A | N / A | N / A | N / A | Year round | 24 hours per day/7 days per week | Telemetry | http://www.iso-ne.com/rules_proceds/isone_mnls/index.html |  |  |  | Lead Market Participant | Competitive Retailer (not relevant to DR) | Lead Market Participant | DDE | TDSP | DDE | Resources: Web Page + PDF Upload [FCTS] Assets: Web Page [CAMS] | Web Page [DRMUI] | DNP3 [CFE] | DNP3 [CFE] | Web Service [DRMUI] | 30 minute notification | 30 Minutes | As Scheduled / Dispatched | Not Monitored | Yes | ± 2 % (± ½ % if meter is used for Distribution billing) | 5 Minutes | None | DNP3 | N / A | Yes | Yes | ± 2 % (± ½ % if meter is used for Distribution billing) | accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST) | (ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria) | 2.5 business days | 5 Minutes | VEE described in ISO-NE Manual-MVDR | Yes | ISO-NE-Type1-WSA-Symmetric, ISO-NE-Type2-Telemetry-No, ISO-NE-BMG, ISO-NE-BMG-II
ISO-NE | OP | FCM: On-Peak Demand Resources | Capacity | Active | None | 100 kW | 1 kW | Yes | Voluntary | Mandatory | Reliability | On-Peak (hours ending 18:00-19:00 winter season, 14:00-17:00 summer season) during weekday non-holidays | N / A | N / A | N / A | N / A | Summer: Jun to Aug Winter: Dec to Jan | Summer: hours ending 14:00 to 17:00 Winter hours ending 18:00 to 19:00 | Not Monitored | http://www.iso-ne.com/rules_proceds/isone_mnls/index.html |  |  |  | Lead Market Participant | Competitive Retailer (not relevant to DR) | N / A | N / A | TDSP | MA | Resources: Web Page + PDF Upload [FCTS] Assets: Web Page [CAMS] | N / A | N / A Non-Dispatchable | N / A | Web Service [CAMS] | Performance hours defined in Market Rule, known months or years in advance | Effectively Instantaneous | Summer: hours ending 14:00 to 17:00 Winter hours ending 18:00 to 19:00 | Not Monitored | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % (± ½ % if meter is used for Distribution billing) | accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST) | (ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria) | Monthly | 1 Hour | VEE described in ISO-NE Manual-MVDR | Yes | ISO-NE-Type1-WSA-Symmetric, ISO-NE-Type2-Telemetry-No, ISO-NE-BMG
ISO-NE | SP | FCM: Seasonal Peak Demand Resources | Capacity | Active | None | 100 kW | 1 kW | Yes | Voluntary | Mandatory | Reliability | Weekday nonholiday real-time hourly load is ≥ 90% of 50/50 system peakload forecast for the applicable season | N / A | N / A | N / A | N / A | Summer: Jun to Aug Winter: Dec to Jan | Weekday non-holiday hours for the applicable season | Not Monitored | http://www.iso-ne.com/rules_proceds/isone_mnls/index.html |  |  |  | Lead Market Participant | Competitive Retailer (not relevant to DR) | N / A | N / A | TDSP | MA | Resources: Web Page + PDF Upload [FCTS] Assets: Web Page [CAMS] | N / A | N / A Non-Dispatchable | N / A | Web Service [CAMS] | None | Effectively Instantaneous | Each hour in which weekday nonholiday real-time hourly load is ≥ 90% of 50/50 system peakload forecast for the applicable season | Not Monitored | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % (± ½ % if meter is used for Distribution billing) | accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST) | (ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria) | Monthly | 1 Hour | VEE described in ISO-NE Manual-MVDR | Yes | ISO-NE-Type1-WSA-Symmetric, ISO-NE-Type2-Telemetry-No, ISO-NE-BMG
ISO-NE | RTEG | Real Time Emergency Generation Resource | Capacity | Inactive | 2018-05-31 | 100 kW | 1 kW | Yes | Voluntary | Mandatory | Reliability | Dispatched when Operating Procedure 4 Action 6 is implemented | N / A (compensation limited to 600 MW) | N / A | N / A | N / A | Year round | Between 7 a.m. and 7 p.m. Monday through Friday, non-Demand Response Holidays | Telemetry | http://www.iso-ne.com/rules_proceds/isone_mnls/index.html |  |  |  | Lead Market Participant | Competitive Retailer (not relevant to DR) | Lead Market Participant | DDE | TDSP | DDE | Resources: Web Page + PDF Upload [FCTS] Assets: Web Page [CAMS] | Web Page [DRMUI] | DNP3 [CFE] | DNP3 [CFE] | Web Service [DRMUI] | 30 minute notification | 30 Minutes | As Scheduled / Dispatched | Not Monitored | Yes | ± 2 % (± ½ % if meter is used for Distribution billing) | 5 Minutes | None | DNP3 | N / A | Yes | Yes | ± 2 % (± ½ % if meter is used for Distribution billing) | accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST) | (ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria) | 2.5 business days | 5 Minutes | VEE described in ISO-NE Manual-MVDR | Yes | ISO-NE-Type1-WSA-Symmetric, ISO-NE-Type2-Telemetry-No, ISO-NE-BMG
ISO-NE | DARD | Dispatchable Asset Related Demand | Reserve | Active | None | 1 MW | 100 kW | Yes | Voluntary | Mandatory | Economic | Economic Dispatch | N / A | N / A | N / A | N / A | Scheduled Interval | Scheduled Interval | Telemetry | http://www.iso-ne.com/rules_proceds/isone_mnls/index.html |  |  |  | Lead Market Participant | Competitive Retailer (not relevant to DR) | Lead Market Participant | DDE | TDSP | MA | Paper Forms / Web Page [CAMS] | Web Page [eMarket] | DNP3 [CFE] | DNP3 [CFE] | Web Service [MRUI] | None | Ramp rate included in energy offer | As Scheduled / Dispatched | As Scheduled / Dispatched | Yes | ± 2 % (± ½ % if meter is used for Distribution billing) | 10 Seconds | None | DNP3 | N / A | N / A | Yes | ± 1/2 % | accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST) | (ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria) | 1.5 business days | 1 Hour | Standard VEE by meter-reading entity | N / A | ISO-NE-MBL
ISO-NE | TPRD | Transitional Price Responsive Demand | Energy | Inactive | 2018-05-31 | 100 kW | 1 kW | Yes | Voluntary | Mandatory if clear Day-Ahead, voluntary if clear in Real-Time | Economic | Offer Price <= Day-Ahead LMP or Offer Price <= Real-Time LMP | N / A | If scheduled, 1 hour | May be scheduled for up to 11 hours | N / A | Scheduled Interval | Weekday non-holiday hours ending 8:00 - 18:00 | Telemetry | http://www.iso-ne.com/rules_proceds/isone_mnls/index.html |  |  |  | Lead Market Participant | Competitive Retailer (not relevant to DR) | Lead Market Participant | DDE | TDSP | DDE | Assets: Web Page [CAMS] | Web Page [eMarket] | DNP3 [CFE] | DNP3 [CFE] | Web Service [DRMUI] | Day-Ahead Market Clearing (~1:30 PM) | None | As Scheduled | Not Monitored | Yes | ± 2 % (± ½ % if meter is used for Distribution billing) | 5 Minutes | None | DNP3 | N / A | Yes | Yes | ± 2 % (± ½ % if meter is used for Distribution billing) | accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST) | (ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria) | 2.5 business days | 5 Minutes | VEE described in ISO-NE Manual-MVDR | Yes | ISO-NE-Type1-WSA-Symmetric, ISO-NE-Type2-Telemetry-No, ISO-NE-BMG, ISO-NE-BMG-II
ISO-NE | DRR | Demand Response Resource | Energy, Reserve, Capacity | 2018-06-01 | None | 100 kW | 0.1 MW | Yes | Voluntary | Mandatory | Economic, Reliability | Commitment and Dispatch based on Energy Market Offer | N / A | Based on Energy Market Offer | Based on Energy Market Offer; could be up to 24 hours | Based on Energy Market Offer | Scheduled Interval | Scheduled Interval | Telemetry | https://www.iso-ne.com/participate/rules-procedures/tariff/market-rule-1; https://www.iso-ne.com/participate/rules-procedures/manuals |  |  |  | Lead Market Participant | Competitive Retailer (not relevant to DR) | Lead Market Participant | DDE | TDSP | DDE | Resources: Web Page + PDF Upload [FCTS] Assets: Web Page [CAMS] | Web Page [eMarket] | DNP3 [CFE] | DNP3 [CFE] | Web Service [DRMUI] | Day-Ahead Market Clearing (~1:30 PM) | Start-up time and ramp rate included in energy market offer | As Scheduled / Dispatched | As Scheduled / Dispatched | Yes | ± 2 % (± ½ % if meter is used for Distribution billing) | 5 Minutes | 1-Minute for DRRs providing 10-minute operating reserve | DNP3 | N / A | N / A | Yes | ± 2 % (± ½ % if meter is used for Distribution billing) | accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST) | (ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria) | 1.5 business days | 5 Minutes | VEE described in ISO Operating Procedures OP-14 and OP-18 | Yes | ISO-NE-Symmetric RT Adjusted
MISO
MISO | DRR-I | Demand Response Resource Type I (Energy) | Energy | Active | None | 1 MW |  | Yes | Voluntary | Voluntary | Economic | Energy Price > Offer Price | N / A | N / A | Deployment Window | N / A | Scheduled Interval | Scheduled Interval | Availability based on offers | https://www.misoenergy.org/Library/BusinessPracticesManuals/Pages/BusinessPracticesManuals.aspx |  |  |  | Market Participant | LSE | Market Participant or designated agent | Market Participant | Not Involved; however LBA is informed. | Market Participant or designated agent | Paper Forms + WebPage [DRT] | Web Page / File Upload [DART] | e-mail / Web Services | XML | Web Page / File Upload [DRT] | Day-Ahead Clearing (~4:00) | 5 Minutes | As Scheduled / Dispatched with 1 Hour (Minimum) | Not Monitored | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | Applicable State Jurisdictional Requirements | None | applicable ANSI standards | Event Day + 53 Days | 1 Hour | N / A | Yes | MISO-10-In-10-Metered, MISO-10-In-10-Sampled, MISO-Manual-Sampled, MISO-10-Manual-Sampled, MISO-BMG, MISO-Firm-Service-Level, MISO-MBMA-Single-Read | o!
MISO | DRR-I | Demand Response Resource Type-I (Reserve) | Reserve | Active | None | 1 MW |  | Yes | Voluntary | Mandatory | Economic | Energy Price > Offer Price | 40% of Spin Requirement from DRR | N / A | Deployment Window | N / A | Scheduled Interval | Scheduled Interval | Availability based on offers | https://www.misoenergy.org/Library/BusinessPracticesManuals/Pages/BusinessPracticesManuals.aspx |  |  |  | Market Participant | LSE | Market Participant or designated agent | Market Participant | Not Involved; however LBA is informed. | Market Participant or designated agent | Paper Forms + WebPage [DRT] | Web Page / File Upload [DART] | e-mail / Web Services | XML | Web Page / File Upload [DRT] | Day-Ahead Clearing (~4:00) | 10 Minutes | As Scheduled / Dispatched with 1 Hour (Minimum) | Not Monitored | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | Applicable State Jurisdictional Requirements | None | applicable ANSI standards | Event Day + 5 Days | 5 Minute | N / A | Yes | MISO-MBMA-Single-Read
MISO | DRR-II | Demand Response Resource Type II (Energy) | Energy | Active | None | 1 MW |  | No | Voluntary | Voluntary | Economic | Energy Price > Offer Price | N / A | N / A | Deployment Window | N / A | Scheduled Interval | Scheduled Interval | Availability based on offers | https://www.misoenergy.org/Library/BusinessPracticesManuals/Pages/BusinessPracticesManuals.aspx |  |  |  | Market Participant | LSE | Market Participant or designated agent | Market Participant | Not Involved; however LBA is informed. | Market Participant or designated agent | Paper Forms + WebPage [DRT] | Web Page / File Upload [DART] | e-mail / Web Services | ICCP and XML | Web Page / File Upload [DRT] | Day-Ahead Clearing (~4:00) | 5 Minutes | As Scheduled / Dispatched with 1 Hour (Minimum) | Not Monitored | No | N / A | N / A | N / A | ICCP | N / A | N / A | Yes | Applicable State Jurisdictional Requirements | None | applicable ANSI standards | Event Day + 53 Days | 1 Hour | N / A | Yes | MISO-10-In-10-Metered, MISO-Manual-Metered, MISO-BMG, MISO-Firm-Service-Level, MISO-MBMA-Single-Read
MISO | DRR-II | Demand Response Resource Type-II (Reserve) | Reserve | Active | None | 1 MW |  | No | Voluntary | Mandatory | Economic | Energy Price > Offer Price | 40% of Spin Requirement from DRR | N / A | Deployment Window | N / A | Scheduled Interval | Scheduled Interval | Availability based on offers | https://www.misoenergy.org/Library/BusinessPracticesManuals/Pages/BusinessPracticesManuals.aspx |  |  |  | Market Participant | LSE | Market Participant or designated agent | Market Participant | Not Involved; however LBA is informed. | Market Participant or designated agent | Paper Forms + WebPage [DRT] | Web Page / File Upload [DART] | e-mail / Web Services | ICCP and XML | Web Page / File Upload [DRT] | Day-Ahead Clearing (~4:00) | 10 Minutes | As Scheduled / Dispatched with 1 Hour (Minimum) | Not Monitored | No | N / A | N / A | N / A | ICCP | N / A | N / A | Yes | Applicable State Jurisdictional Requirements | None | applicable ANSI standards | Event Day + 5 Days | 5 Minute | N / A | Yes | MISO-MBMA-Single-Read
MISO | DRR-II | Demand Response Resource Type-II (Regulation) | Regulation | Active | None | 1 MW |  | No | Voluntary | Mandatory | Economic | Energy Price > Offer Price | N / A | N / A | Deployment Window | N / A | Scheduled Interval | Scheduled Interval | Telemetry | https://www.misoenergy.org/Library/BusinessPracticesManuals/Pages/BusinessPracticesManuals.aspx |  |  |  | Market Participant | LSE | Market Participant or designated agent | Market Participant | Not Involved; however LBA is informed. | Market Participant or designated agent | Paper Forms + WebPage [DRT] | Web Page / File Upload [DART] | e-mail / Web Services | ICCP and XML | Web Page / File Upload [DRT] | Day-Ahead Clearing (~4:00) | Effectively Instantaneous | As Scheduled / Dispatched with 1 Hour (Minimum) | N / A | Yes | Consistent with other ICCP Data | 4 Seconds | None | ICCP | No | Yes | Yes | Applicable State Jurisdictional Requirements | None | applicable ANSI standards | When Cleared Day-Ahead, During Dispatch Day -- next Hour | 1 Minute | N / A | Yes | MISO-MBMA-Interval-Reads
MISO | EDR | Emergency Demand Response | Energy | Active | None | 100 kW |  | Yes | Voluntary | Voluntary | Reliability | Operational Procedure | N / A | EDR Offer | EDR Offer | EDR Offer | EDR Offer | EDR Offer | Daily Update | https://www.misoenergy.org/Library/BusinessPracticesManuals/Pages/BusinessPracticesManuals.aspx |  |  |  | Market Participant | LSE | Market Participant | Market Participant | Not Involved; however LBA is informed. | Market Participant or designated agent | Paper Forms + WebPage [MECT] | N / A | e-mail / Web Services | XML | Web Page / File Upload | None | Resource-Specific (Biddable Parameter) | As Scheduled / Dispatched | Not Monitored | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | Applicable State Jurisdictional Requirements | None | applicable ANSI standards | Event Day + 103 Days | 1 Hour | N / A | Yes | MISO-10-In-10-Metered, MISO-10-In-10-Sampled, MISO-Manual-Sampled, MISO-10-Manual-Sampled, MISO-BMG, MISO-Firm-Service-Level, MISO-MBMA-Single-Read
MISO | LMR | Load Modifying Resource | Capacity | Active | None | 100 kW |  | Yes | Voluntary | Mandatory | Reliability | Operational Procedure | N / A | 4 hours | N / A | 5 | summer | summer | Daily Update | https://www.misoenergy.org/Library/BusinessPracticesManuals/Pages/BusinessPracticesManuals.aspx |  |  |  | Market Participant | LSE | Market Participant | Market Participant | Not Involved; however LBA is informed. | Market Participant or designated agent | Paper Forms + WebPage [MECT] | N / A | e-mail / Web Services | XML | Web Page / File Upload | None | Resource-Specific (Biddable Parameter) | As Scheduled / Dispatched with 4 Hours (Minimum) | Not Monitored | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | Applicable State Jurisdictional Requirements | None | applicable ANSI standards | Event Day + 103 Days | 1 Hour | N / A | Yes | MISO-10-In-10-Metered, MISO-10-In-10-Sampled, MISO-Manual-Sampled, MISO-10-Manual-Sampled, MISO-BMG, MISO-Firm-Service-Level, MISO-MBMA-Single-Read
NYISO
NYISO | DADRP | Day-Ahead Demand Response Program | Energy | Active | None | 1 MW | 1 MW | Yes | Voluntary | Mandatory | Economic | Energy Price > Offer Price (Security Constrained Unit Commitment) | N / A | 1 hour | Scheduled Interval | NA | All hours | Scheduled Interval | Not Monitored | http://www.nyiso.com/public/webdocs/markets_operations/documents/Manuals_and_Guides/Manuals/Operations/dadrp_mnl.pdf |  |  |  | DRP | LSE | DRP | DRP | TO | TO or MSP or MDSP | Web Page | Web Page [MIS] | Non-Dispatchable / Fixed Schedule | N / A | Web Page [MIS] / Upload [Web Service] | Day-Ahead by 11 am | - | As Scheduled | Not Monitored | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % | None | ±2% of full scale reading (for non-revenue interval metering devices; certified by a Professional Engineer as meeting ANSI C12) (1) Must use certified Meter Service Provider (MSP) and meter Data Service Provider (MDSP) (2) Hourly interval metering required except for Small Customer Aggregation | Event Day + 55 Days | 1 Hour | N / A | ±2% of full scale reading; used for monitoring only | NYISO-Base3
NYISO | DSASP-10 | Demand Side Ancillary Services Program | Reserve | Active | None | 1 MW | 1 MW | Yes | Voluntary | Mandatory | Economic | Energy Price > Offer Price (Security Constrained Economic Dispatch) | N / A | 1 hour | Scheduled Interval | NA | All hours | Scheduled Interval | Telemetry | http://www.nyiso.com/public/webdocs/markets_operations/documents/Manuals_and_Guides/Manuals/Operations/ancserv.pdf |  |  |  | DSASP Provider | LSE | DSASP Provider | DSASP Provider | TO | TO or MSP or MDSP | Web Page | Web Page [MIS] | Automatic System Dispatch | ICCP | Web Page [MIS] / Upload [Web Service] | Day-Ahead by 11 am Real-time: 75 minutes | 10 Minutes | As Scheduled / Dispatched | Not Monitored | Yes | Digital data: Maximum error of +0.1 percent of reading Analog data: combined error of less than 1.0 percent of full scale reading end to end for the telemetering oscillator and converter | 6 Seconds | Regulation Flag, Base Load Interval, Calc Response MW, Breaker Status | ICCP | N / A | Yes | Yes | ± 2 % | None | Revenue Grade: approved by NY Public Service Commission | Instantaneous, plus Scheduled Day + 55 Days | 1 Hour | Instantaneous data compared to revenue billing meter after the fact | N / A | NYISO-MBMA
NYISO | DSASP-30 | Demand Side Ancillary Services Program | Reserve | Active | None | 1 MW | 1 MW | Yes | Voluntary | Mandatory | Economic | Energy Price > Offer Price (Security Constrained Economic Dispatch) | N / A | 1 hour | Scheduled Interval | NA | All hours | Scheduled Interval | Telemetry | http://www.nyiso.com/public/webdocs/markets_operations/documents/Manuals_and_Guides/Manuals/Operations/ancserv.pdf |  |  |  | DSASP Provider | LSE | DSASP Provider | DSASP Provider | TO | TO or MSP or MDSP | Web Page | Web Page [MIS] | Automatic System Dispatch | ICCP | Web Page [MIS] / Upload [Web Service] | Day-Ahead by 11 am Real-time: 75 minutes | 30 minutes | As Scheduled / Dispatched | Not Monitored | Yes | Digital data: Maximum error of +0.1 percent of reading Analog data: combined error of less than 1.0 percent of full scale reading end to end for the telemetering oscillator and converter | 6 Seconds | Regulation Flag, Base Load Interval, Calc Response MW, Breaker Status | ICCP | N / A | Yes | Yes | ± 2 % | None | Revenue Grade: approved by NY Public Service Commission | Instantaneous, plus Scheduled Day + 55 Days | 1 Hour | Instantaneous data compared to revenue billing meter after the fact | Must be net metered | NYISO-MBMA
NYISO | DSASP-Reg | Demand Side Ancillary Services Program | Regulation | Active | None | 1 MW | 1 MW | Yes | Voluntary | Mandatory | Economic | Energy Price > Offer Price (Security Constrained Economic Dispatch) | N / A | 1 hour | Scheduled Interval | NA | All hours | Scheduled Interval | Telemetry | http://www.nyiso.com/public/webdocs/markets_operations/documents/Manuals_and_Guides/Manuals/Operations/ancserv.pdf |  |  |  | DSASP Provider | LSE | DSASP Provider | DSASP Provider | TO | TO or MSP or MDSP | Web Page | Web Page [MIS] | Automatic System Dispatch | ICCP | Web Page [MIS] / Upload [Web Service] | Day-Ahead by 11 am Real-time: 5 minutes | Effectively Instantaneous | As Scheduled / Dispatched | N / A | Yes | Digital data: Maximum error of +0.1 percent of reading Analog data: combined error of less than 1.0 percent of full scale reading end to end for the telemetering oscillator and converter | 6 Seconds | Regulation Flag, Base Load Interval, Calc Response MW, Breaker Status | ICCP | No | Yes | Yes | ± 2 % | None | Revenue Grade: approved by NY Public Service Commission | Instantaneous, plus Scheduled Day + 55 Days | 1 Hour | Instantaneous data compared to revenue billing meter after the fact | N / A | NYISO-MBMA
NYISO | EDRP | Emergency Demand Response Program | Energy | Active | None | 100 kW (per Zone) | 100 kW (per Zone) | Yes | Voluntary | Voluntary | Reliability | Operational Procedure | N / A | NA | NA | NA | Seasonal | Deployment Window | Not Monitored | http://www.nyiso.com/public/webdocs/markets_operations/documents/Manuals_and_Guides/Manuals/Operations/edrp_mnl.pdf |  |  |  | CSP | LSE | CSP | CSP | TO | TO or MSP or MDSP | Web Page | Automated Voice Message / e-Mail | Automated Voice Message / e-Mail | N / A | Web Page [MIS] / Upload [Web Service] | Day-ahead advisory Day- of: 120 minutes | 2 Hours | 4 Hours (Minimum) | Not Monitored | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % | None | ±2% of full scale reading (for non-revenue interval metering devices; certified by a Professional Engineer as meeting ANSI C12) (1) Must use certified Meter Service Provider (MSP) and meter Data Service Provider (MDSP) (2) Hourly interval metering required except for Small Customer Aggregation | Event Day + 75 Days | 1 Hour | N / A | Optional | NYISO-Base1, NYISO-Base2, NYISO-BMG
NYISO | SCR | Installed Capacity Special Case Resources (Capacity Component) | Capacity + Energy | Active | None | 100 kW (per Zone) | 100 kW (per Zone) | Yes | Voluntary | Mandatory | Reliability | Operational Procedure | N / A | 4 hours | Deployment Window | NA | Seasonal | All hours | Not Monitored | http://www.nyiso.com/public/webdocs/markets_operations/documents/Manuals_and_Guides/Manuals/Operations/icap_mnl.pdf |  |  |  | RIP | LSE | RIP | RIP | TO | TO or MSP or MDSP | Web Page | Automated Voice Message / e-Mail | Automated Voice Message / e-Mail | N / A | Web Page [MIS] / Upload [Web Service] | Day-ahead advisory Day- of: 120 minutes | 2 Hours | 4 Hours (Minimum) [or 1 Hour for Test] | Not Monitored | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % | None | ±2% of full scale reading (for non-revenue interval metering devices; certified by a Professional Engineer as meeting ANSI C12) (1) Must use certified Meter Service Provider (MSP) and meter Data Service Provider (MDSP) (2) Hourly interval metering required except for Small Customer Aggregation | Event Day + 75 Days | 1 Hour | N / A | Optional | NYISO-MBL, NYISO-Base1, NYISO-Base2, NYISO-BMG
PJM
PJM | - | Economic Load Response (Energy) | Energy | Active | None | 100 kW | 100 kW | Yes | Voluntary | Voluntary | Economic | Cleared Day-Ahead Bid, or Real-Time Dispatch | N / A | N / A | N / A | N / A | Scheduled Interval | Scheduled Interval | Availability based on offers | http://www.pjm.com/~/media/documents/manuals/m11.ashx |  |  |  | CSP | LSE | CSP | CSP | TO or EDC | CSP or EDC | Web Page / Webservice [DR Hub] | Web Page / Webservice [eMarket] | Web Page / Webservice / email [DR Hub] | see deployment | Web Page / Webservice [DR Hub] | Day-Ahead Clears 1:30pm prior to operating day, RT dispatch up to 2 hours | Resource Specific | As Scheduled / Dispatched | N / A | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % | based on retail regulatory standards otherwise reconcile to NIST atomic clock each time meter is polled | Retail electric service requirements or ANSI C12.1 and c57.13 | Event Day + 60 Days | 1 Hour or 5 minutes | NAESB VEE protocol | option not a requirement | PJM-Base1, PJM-BMG, PJM-Base2, PJM-MBMA-Energy, PJM-MBL, PJM-Alternate
PJM | - | Economic Load Response (Synchronized reserves) | Reserve | Active | None | 100 kW | 100 kW | Yes | Voluntary | Mandatory | Reliability | Operational Procedure | 33% | N / A | 30 min | N / A | Scheduled Interval | Scheduled Interval | Availability based on offers | http://www.pjm.com/~/media/documents/manuals/m11.ashx |  |  |  | CSP | LSE | CSP | CSP | TO or EDC | CSP or EDC | Web Page / Webservice [DR Hub] | Web Page / Webservice [eMarket] | Web Page / Webservice / email / phone / DNP3 [DR Hub] | see deployment | Web Page / Webservice [DR Hub] | real time | 10 Minutes | As Scheduled / Dispatched | N / A | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % | based on retail regulatory standards otherwise reconcile to NIST atomic clock each time meter is polled | Retail electric service requirements or ANSI C12.1 and c57.13 | Event Day + 2 Business Day | 1 Minute | NAESB VEE protocol | N / A | PJM-MBMA-Reserve
PJM | - | Economic Load Response (Day ahead scheduling reserve) | Reserve | Active | None | 100 kW | 100 kW | Yes | Voluntary | Mandatory | Reliability | Operational Procedure | 25% | N / A | N / A | N / A | Scheduled Interval | Scheduled Interval | Availability based on offers | http://www.pjm.com/~/media/documents/manuals/m11.ashx |  |  |  | CSP | LSE | CSP | CSP | TO or EDC | CSP or EDC | Web Page / Webservice [DR Hub] | Web Page / Webservice [eMarket] | Web Page / Webservice / email [DR Hub] | see deployment | Web Page / Webservice [DR Hub] | up to 2 hours | 30 Minutes | As Scheduled / Dispatched | N / A | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % | based on retail regulatory standards otherwise reconcile to NIST atomic clock each time meter is polled | Retail electric service requirements or ANSI C12.1 and c57.13 | Event Day + 1 Business Day | 1 Minute | NAESB VEE protocol | N / A | PJM-MBMA-Reserve
PJM | - | Economic Load Response (Regulation) | Regulation | Active | None | 100 kW | 100 kW | Yes | Voluntary | Mandatory | Reliability | Operational Procedure | 25% | N / A | N / A | N / A | Scheduled Interval | Scheduled Interval | Availability based on offers | http://www.pjm.com/~/media/documents/manuals/m11.ashx |  |  |  | CSP | LSE | CSP | CSP | TO or EDC | CSP or EDC | Web Page / Webservice [DR Hub] | Web Page / Webservice [eMarket] | DNP3 | see deployment | work in progress | None | Effectively Instantaneous | As Scheduled / Dispatched | N / A | Yes | ± 2 % | 2-4 Seconds | None | ICCP or DNP3 | No | No | Yes (audit) | ± 2 % | based on retail regulatory standards otherwise reconcile to NIST atomic clock each time meter is polled | Retail electric service requirements or ANSI C12.1 and c57.13 | Determined by PJM | Determined by PJM | NAESB VEE protocol | N / A | PJM-MBMA-Reg
PJM | - | Emergency Load Response - Energy Only | Energy | Active | None | 100 kW | 100 kW | Yes | Voluntary | Voluntary | Economic | Operational Procedure | N / A | N / A | N / A | N / A | N / A | N / A | Availability based on offers | http://www.pjm.com/~/media/documents/manuals/m18.ashx |  | Group |  | CSP | LSE | CSP | CSP | TO or EDC | CSP or EDC | Web Page / Webservice [DR Hub] | Web Page / Webservice [eMarket] | Web Page / Webservice / email / phone [DR Hub] | see deployment | Web Page / Webservice [DR Hub] | 2 Hours (Maximum) | 0.5 Hour Default (Exception Process for 1 or 2 hours) | As Scheduled / Dispatched | N / A | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % | based on retail regulatory standards otherwise reconcile to NIST atomic clock each time meter is polled | Retail electric service requirements or ANSI C12.1 and c57.13 | Event Day + 60 Days | 1 Hour or 5 minutes | NAESB VEE protocol | N / A | PJM-MBMA-Energy
PJM | - | Full Emergency Load Response (Limited DR - Capacity Component) | Capacity | Active | 2019-05-31 | 100 kW | 100 kW | Yes | Voluntary | Mandatory | Reliability | Operational Procedure | based on reliability analysis | N / A | 6 hours | 10 | Jun – Sept | 12 PM to 8PM | Annual test | http://www.pjm.com/~/media/documents/manuals/m18.ashx |  | Group |  | CSP | LSE | CSP | CSP | TO or EDC | CSP or EDC | Web Page / Webservice [DR Hub] | Web Page / Webservice [eRPM] | Web Page / Webservice / email / phone [DR Hub] | see deployment | Web Page / Webservice [DR Hub] | 2 Hours (Maximum) | 0.5 Hour Default (Exception Process for 1 or 2 hours) | As Scheduled / Dispatched | N / A | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % | based on retail regulatory standards otherwise reconcile to NIST atomic clock each time meter is polled | Retail electric service requirements or ANSI C12.1 and c57.13 | End-of-Month + 45 Days | 1 Hour or 5 minutes | NAESB VEE protocol | option not a requirement | PJM-MBL
PJM | - | Full Emergency Load Response (Extended Summer DR - Capacity Component) | Capacity | Active | 2019-05-31 | 100 kW | 100 kW | Yes | Voluntary | Mandatory | Reliability | Operational Procedure | based on reliability analysis | N / A | 10 hours | N / A | May to Oct | 10 AM to 10 PM | Annual test | http://www.pjm.com/~/media/documents/manuals/m18.ashx |  | Group |  | CSP | LSE | CSP | CSP | TO or EDC | CSP or EDC | Web Page / Webservice [DR Hub] | Web Page / Webservice [eRPM] | Web Page / Webservice / email / phone [DR Hub] | see deployment | Web Page / Webservice [DR Hub] | 2 Hours (Maximum) | 0.5 Hour Default (Exception Process for 1 or 2 hours) | As Scheduled / Dispatched | N / A | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % | based on retail regulatory standards otherwise reconcile to NIST atomic clock each time meter is polled | Retail electric service requirements or ANSI C12.1 and c57.13 | End-of-Month + 45 Days | 1 Hour or 5 minutes | NAESB VEE protocol | option not a requirement | PJM-MBL
PJM | - | Full Emergency Load Response (Annual DR - Capacity Component) | Capacity | Active | 2019-05-31 | 100 kW | 100 kW | Yes | Voluntary | Mandatory | Reliability | Operational Procedure | None | N / A | 10 hours | N / A | All Year, unless on an approved maintenance outage during Oct.-Apr. | 10 AM to 10 PM or 6 AM to 9PM (depending on season) | Annual test | http://www.pjm.com/~/media/documents/manuals/m18.ashx |  | Group |  | CSP | LSE | CSP | CSP | TO or EDC | CSP or EDC | Web Page / Webservice [DR Hub] | Web Page / Webservice [eRPM] | Web Page / Webservice / email / phone [DR Hub] | see deployment | Web Page / Webservice [DR Hub] | 2 Hours (Maximum) | 0.5 Hour Default (Exception Process for 1 or 2 hours) | As Scheduled / Dispatched | N / A | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % | based on retail regulatory standards otherwise reconcile to NIST atomic clock each time meter is polled | Retail electric service requirements or ANSI C12.1 and c57.13 | End-of-Month + 45 Days | 1 Hour or 5 minutes | NAESB VEE protocol | option not a requirement | PJM-MBL
PJM | - | Full Emergency Load Response (Base Capacity DR - Capacity Component); for 18/19 & 19/20 DY only | Capacity | Active | 2020-05-31 | 100 kW | 100 kW | Yes | Voluntary | Mandatory | Reliability | Operational Procedure | based on reliability analysis | N / A | 10 hours | N / A | Jun – Sept | 10 AM to 10 PM | Annual test | http://www.pjm.com/~/media/documents/manuals/m18.ashx |  | Group |  | CSP | LSE | CSP | CSP | TO or EDC | CSP or EDC | Web Page / Webservice [DR Hub] | Web Page / Webservice [eRPM] | Web Page / Webservice / email / phone [DR Hub] | see deployment | Web Page / Webservice [DR Hub] | 2 Hours (Maximum) | 0.5 Hour Default (Exception Process for 1 or 2 hours); Can be reduced or eliminated as needed | As Scheduled / Dispatched | N / A | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % | based on retail regulatory standards otherwise reconcile to NIST atomic clock each time meter is polled | Retail electric service requirements or ANSI C12.1 and c57.13 | End-of-Month + 45 Days | 1 Hour or 5 minutes | NAESB VEE protocol | option not a requirement | PJM-MBL
PJM | - | Full Emergency Load Response (Capacity Performance DR - Capacity Component) | Capacity | Active | None | 100 kW | 100 kW | Yes | Voluntary | Mandatory | Reliability | Operational Procedure | None | N / A | JUN-OCT, 12 hours; NOV-APR, 15 hours | N / A | All Year, unless on an approved maintenance outage during OCT-APR | 10 AM to 10 PM or 6 AM to 9PM (depending on season) | Annual test | http://www.pjm.com/~/media/documents/manuals/m18.ashx |  | Group |  | CSP | LSE | CSP | CSP | TO or EDC | CSP or EDC | Web Page / Webservice [DR Hub] | Web Page / Webservice [eRPM] | Web Page / Webservice / email / phone [DR Hub] | see deployment | Web Page / Webservice [DR Hub] | 2 Hours (Maximum) | 0.5 Hour Default (Exception Process for 1 or 2 hours); Can be reduced or eliminated as needed | As Scheduled / Dispatched | N / A | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % | based on retail regulatory standards otherwise reconcile to NIST atomic clock each time meter is polled | Retail electric service requirements or ANSI C12.1 and c57.13 | End-of-Month + 45 Days | 1 Hour or 5 minutes | NAESB VEE protocol | option not a requirement | Summer season: PJM-MBL; Non-Summer season: PJM-Base1, PJM-BMG, PJM-Base2, PJM-MBMA-Energy, PJM-MBL, PJM-Alternate
PJM | - | Full Emergency Load Response (Energy Component) | Energy | Active | None | 100 kW | 100 kW | Yes | Voluntary | Mandatory | Reliability | Operational Procedure | None | N / A | Based on type of Full Emergency Load Response Capacity Component (Limited, Extended Summer, Annual, Base or CP) | Based on type of Full Emergency Load Response Capacity Component (Limited, Extended Summer, Annual, Base or CP) | Based on type of Full Emergency Load Response Capacity Component (Limited, Extended Summer, Annual, Base or CP) | Based on type of Full Emergency Load Response Capacity Component (Limited, Extended Summer, Annual, Base or CP) | Annual test | http://www.pjm.com/~/media/documents/manuals/m18.ashx |  | Group |  | CSP | LSE | CSP | CSP | TO or EDC | CSP or EDC | Web Page / Webservice [DR Hub] | Web Page / Webservice [eRPM] | Web Page / Webservice / email / phone [DR Hub] | see deployment | Web Page / Webservice [DR Hub] | 2 Hours (Maximum) | 0.5 Hour Default (Exception Process for 1 or 2 hours) | As Scheduled / Dispatched | N / A | No | N / A | N / A | N / A | N / A | N / A | N / A | Yes | ± 2 % | based on retail regulatory standards otherwise reconcile to NIST atomic clock each time meter is polled | Retail electric service requirements or ANSI C12.1 and c57.13 | Event Day + 60 Days | 1 Hour or 5 minutes | NAESB VEE protocol | option not a requirement | PJM-Base1, PJM-BMG, PJM-Base2, PJM-MBMA-Energy, PJM-MBL, PJM-Alternate
SPP
SPP |  | Demand Resource Load | Energy | Active | None | 100 kW | 100 kW | Aggregation to a single withdrawal point from the Transmission Grid (and single Retail Provider) is permitted | Voluntary | Mandatory | Economic | Energy Price > Offer Price (Security Constrained Economic Dispatch) | N / A | 60 minutes | None | 12 | Scheduled Interval | Scheduled Interval | ICCP | http://www.spp.org/spp-documents-filings/?id=20867 |  |  |  | Market Participant | LSE | - | Market Participant | LSE | Market Participant or Meter Agent | Electronic File Submission | Web Page & API | ICCP/XML | ICCP | Web Page & API | 5 Minutes (Maximum) | 5 Minutes | 5 Minutes | 5 Minutes | Yes | Consistent with all other ICCP Data | 4 Seconds | Breaker Status | ICCP | N / A | Yes | Yes | ± 0.2 % | None | ANSI C12.1 & 12.2.0 | Event Day + 4 Days (2:00 AM) | 5 Minutes OR 1 Hour | Comparison to Telemetry | Yes | SPP-BMG, SPP-Submitted, SPP-Calculated
SPP |  | Controllable Load for reserve | Reserve | Active | None | 100 kW | 100 kW | Aggregation to a single withdrawal point from the Transmission Grid (and single Retail Provider) is permitted | Voluntary | Mandatory | Economic | Operational Procedure | N / A | 60 minutes | None | N / A | Scheduled Interval | Scheduled Interval | ICCP | http://www.spp.org/spp-documents-filings/?id=20867 |  |  |  | Market Participant | LSE | - | Market Participant | LSE | Market Participant or Meter Agent | Electronic File Submission | Web Page & API | ICCP/XML | ICCP | Web Page & API | 5 Minutes (Maximum) | 10 Minutes | 60 Minutes |  | Yes | Consistent with all other ICCP Data | 4 Seconds | Breaker Status | ICCP | N / A | Yes | Yes | ± 0.2 % | None | ANSI C12.1 & 12.2.0 | Event Day + 4 Days (2:00 AM) | 5 Minutes OR 1 Hour | Comparison to Telemetry | Yes | SPP-Reg
SPP |  | Controllable Load for regulation | Regulation | Active | None | 100 kW | 100 kW | Aggregation to a single withdrawal point from the Transmission Grid (and single Retail Provider) is permitted | Voluntary | Mandatory | Economic | Operational Procedure | N / A | 60 minutes | None | N / A | Scheduled Interval | Scheduled Interval | ICCP | http://www.spp.org/spp-documents-filings/?id=20867 |  |  |  | Market Participant | LSE | - | Market Participant | LSE | Market Participant or Meter Agent | Electronic File Submission | Web Page & API | ICCP | ICCP | Web Page & API | 5 Minutes (Maximum) | 4 second | 10 seconds to 60 minutes |  | Yes | Consistent with all other ICCP Data | 4 Seconds | Breaker Status | ICCP | N / A | Yes | Yes | ± 0.2 % | None | ANSI C12.1 & 12.2.0 | Event Day + 4 Days (2:00 AM) | 5 Minutes OR 1 Hour | Comparison to Telemetry | Yes | SPP-Reserve

## Performance Evaluation Methods
PERFORMANCE EVALUATION METHODS |  |  | Baseline Information | [5 empty] | Event Information |  |  |  | Special Processing
Region | Cross- Reference | Performance Evaluation | Baseline Window | Calculation Type | Sampling Precision and Accuracy | Exclusion Rules | Baseline Adjustments | Adjustment Window | Use of Real-Time Telemetry | Use of After-The-Fact Metering | Performance Window | Measurement Type | Highly-Variable Load Logic | On-Site Generation Requirements
- | - | - | Meter Before / Meter After, Baseline Type-I, Baseline Type-II Only | Meter Before / Meter After, Baseline Type-I, Baseline Type-II Only | Baseline Type-II Only | Meter Before / Meter After, Baseline Type-I, Baseline Type-II Only | Meter Before / Meter After, Baseline Type-I, Baseline Type-II Only | Meter Before / Meter After, Baseline Type-I, Baseline Type-II Only | - | - | - | - | ALL EXCEPT Behind-The-Meter Generation | ALL EXCEPT Behind-The-Meter Generation
AESO
AESO | AESO-MBL | Maximum Base Load | N / A | N / A | N / A | N / A | N / A | N / A | Yes | No | Sustained Response Period | SCADA or Meter Data if compliance appears to be an issue | None | None (On-site generation is not prohibited but performance is measured via Load reduction)
AESO | AESO-MBMA | Meter Before / Meter After | Single Reading @ Frequency = 59.5 for LSSi SCADA for SUP | Single Reading @ 0.2 Seconds after frequency drops to 59.5 Hz for LSSi and 10 minutes after Directive for SUP | 50 samples per second or faster for LSSi and 4 second to 60 second SCADA for SUP | N / A | N / A | N / A | Yes | No | Sustained Response Period | SCADA or high speed facility data | None | None
CAISO
CAISO | CAISO-MBMA | Meter Before / Meter After (For Spin/Non-Spin no-pay calculation) | N / A | Meter read in the interval before deployment and sustained through the deployment | N / A | N / A | None | N / A | No | For SC Metered Entities: Interval meter data is collected and submitted by a SC as Settlement Quality Meter Data | Sustained Response Period | 5-Minute Interval Load (parsed from 15-min interval metered quantity allowed) | None | None (On-site generation is not prohibited but performance is measured via Load reduction)
CAISO | CAISO-5-in-10 | Day Matching | 45 Days | Average top 5 of the last 10 most recent similar, non-event days | N / A | Non-like days, event days, and federal holidays | Same day load adjustment (+/- 40% Cap) | 2 hours prior to event with 2 hour buffer and 2 hours after event with 2 hour buffer | No | For SC Metered Entities: Interval meter data is collected and submitted by a SC as Settlement Quality Meter Data | Sustained Response Period | 5-Minute Interval Load (parsed from 15-min interval metered quantity allowed) | None | None (On-site generation is not prohibited but performance is measured via Load reduction)
CAISO | CAISO-Weather Matching | Weather Matching | 30 Days | 4 day weather matching using maximum temperature. Average based on pool of eligible days (weighted temperatures on non-event days) | N / A | Non-like days, event days, and federal holidays | Same day load adjustment (+/- 40% Cap) | 2 hours prior to event with 2 hour buffer and 2 hours after event with 2 hour buffer | No | or SC Metered Entities: Interval meter data is collected, baseline calculated, and resulting performance measurement submitted by SC as Settlement Quality Meter Data | Sustained Response Period | 5-Minute Interval Load (parsed from 15-min interval metered quantity allowed) | None | None (On-site generation is not prohibited but performance is measured via Load reduction)
CAISO | CAISO-Control Group | Control Group | 45 Days | Comparison of customers with similar load patterns who did not experience events (treatment group) | N / A | N / A | Same day load adjustment (+/- 40% Cap) | 2 hours prior to event with 2 hour buffer and 2 hours after event with 2 hour buffer | No | or SC Metered Entities: Interval meter data is collected, baseline calculated, and resulting performance measurement submitted by SC as Settlement Quality Meter Data | Sustained Response Period | 5-Minute Interval Load (parsed from 15-min interval metered quantity allowed) | None | None (On-site generation is not prohibited but performance is measured via Load reduction)
CAISO | CAISO-MGO | Metering Generator Output | Typical use baseline - 45 Days | Difference between actual metered output during event and generator's typical use hour (calculated via 10-in-10 baseline) | N / A | Typical use baseline - Non-like days, event days, and federal holidays | N / A | N / A | No | For SC Metered Entities: Interval meter data (submetered generation and facility load) is collected, baseline calculated, and resulting performance measurement submitted by SC as Settlement Quality Meter Data | Sustained Response Period | 5-Minute Interval Load (parsed from 15-min interval metered quantity allowed) | None | None (On-site generation is not prohibited but performance is measured via actual gen value contributing to Load reduction)
CAISO | CAISO-10-in-10 | Day Matching | 45 Days | 10 most recent similar, non-event days | N / A | Non-like days, event days, and federal holidays | Same day load adjustment (+/- 20% Cap) | 2 hours prior to event with 2 hour buffer and 2 hours after event with 2 hour buffer | No | or SC Metered Entities: Interval meter data is collected, baseline calculated, and resulting performance measurement submitted by SC as Settlement Quality Meter Data | Sustained Response Period | 5-Minute Interval Load (parsed from 15-min interval metered quantity allowed) | None | None (On-site generation is not prohibited but performance is measured via Load reduction)
ERCOT
ERCOT | ERCOT-Regression | Baseline Type-I | 12+ months of historical data | Model built using historical meter data | N / A | None | Event day adjustment (scalar based on load point) | Deployment minus 3 Hours (2 Hour Duration) | No | Yes | Sustained Response Period | 15-minute Interval Data Recorder compared to model | None | None (On-site generation is not prohibited but performance is measured via Load reduction)
ERCOT | ERCOT-Mid 8 of 10 | Baseline Type-I | 10 most recent like days (weekday vs. weekend/holiday) | Average | N / A | Exclude highest and lowest of the 10 most recent like days | Event day adjustment (scalar based on load point) | Deployment minus 3 Hours (2 Hour Duration) | No | Yes | Sustained Response Period | 15-minute Interval Data Recorder compared to model | None | None (On-site generation is not prohibited but performance is measured via Load reduction)
ERCOT | ERCOT-Matching Day Pair | Baseline Type-I | 12+ months of historical data | Model built using best matching event day and day preceding event day from prior 12 months | N / A | None | Event day adjustment (scalar based on load point) | Deployment minus 3 Hours (2 Hour Duration) | No | Yes | Sustained Response Period | 15-minute Interval Data Recorder compared to model | None | None (On-site generation is not prohibited but performance is measured via Load reduction)
ERCOT | ERCOT-Control Group | Baseline Type-I | N / A | Compare actual metered Load to control group sample average. | N / A | None | None | None | No | Yes | Sustained Response Period | 15-minute Interval Data Recorder compared to Control Group | None | None
ERCOT | ERCOT-Meter Before Meter After | Baseline Type-I | 15-minute interval prior to issuance of deployment instruction | Compare metered interval load during the deployment to the load of the 15-minute interval prior to issuance of deployment instruction | N / A | None | None | None | No | Yes | Sustained Response Period | 15-minute Interval Data Recorder compared to model | None | None (On-site generation is not prohibited but performance is measured via Load reduction)
ERCOT | ERCOT-Nearest 20 | Baseline Type-I | 20 most recent like days (weekday vs. weekend/holiday) | Average | N / A | None | Event day adjustment (scalar based on load point) | Deployment minus 3 Hours (2 Hour Duration) | No | Yes | Sustained Response Period | 15-minute Interval Data Recorder compared to model | None | None (On-site generation is not prohibited but performance is measured via Load reduction)
ERCOT | ERCOT-Alternate | Maximum Base Load | N / A | N / A | N / A | N / A | N / A | N / A | No | Yes | Sustained Response Period | 15-minute Interval Data Recorder compared to maximum baseload | This model is specifically designed for highly variable loads | None (On-site generation is not prohibited but performance is measured via Load reduction)
ERCOT | ERCOT-RRS (NCLR) | Meter Before / Meter After | 5 Minutes | Compare actual telemetered Load to 5-minute average telemetered Load prior to event | N / A | None | None | None | Yes | Yes | Sustained Response Period | Telemetry (2-second) backed by 15-minute IDR meter data | None | None (On-site generation is not prohibited but performance is measured via Load reduction)
ERCOT | ERCOT-Regulation | Meter Before / Meter After | 4 Seconds | Compare actual telemetered Load to dispatched set point | N / A | None | None | None | Yes | No | Any hours obligated in Regulation-Up or Regulation-Down Service | Telemetry (2-second) | None | None
ERCOT | ERCOT-BPD (Base Point Deviations) | ERCOT-specific real-time evaluation | N / A | Compare telemetered load to SCED base point instructions. | N / A | None | None | None | Yes | Yes (for telemetry validation) | Any SCED Intervals (maximum 5 minutes each) in which the Resource is active in SCED | Telemetry (2-second) | None | None
IESO
IESO | HDR | Baseline Type-I & Meter Before /After | Standard baseline multiplied by an in-day adjustment factor. Both values determined using 20 suitable business days of the previous 35 business days prior to an activation. From those 20 business days, the average of the highest 15 days is utilized. | 5-minute interval load data of qualifying days | N / A | Exclude weekends, holidays and any weekdays where a curtailment event, or an outage, occurred within the Baseline Window. Participant must have at least one energy bid for at least one hour of the availabiltiy window. | In-Day Adjustment Factor applied to all HDR baseline calculations. | Customer / Resource Specific. Three hour window occuring one hour before an activation event. | No | Yes | Event-dependent, as specified in Activation instructions. The activation window for summer commitment period (May 1 - October 31) is HE13 -HE21 and winter commitment period (November 1 - April 30) is HE17-HE21. | 5-minute interval metered load | None | None
IESO | DL (with a DR capacity obligation) | Wholesale Revenue Meters | N/A | 5-minute interval load data of qualifying days | N / A | Exclude weekends, holidays and any weekdays where a curtailment event, or an outage, occurred within the Baseline Window. Participant must have at least one energy bid for at least one hour of the availabiltiy window. | N/A | N/A | Yes | No | Event-dependent, as specified in dispatch instructions. The activation window for summer commitment period (May 1 - October 31) is HE13 -HE21 and winter commitment period (November 1 - April 30) is HE17-HE21. | 5-minute interval metered load | None | None
IESO | DL (without a DR capacity obligation) | Wholesale Revenue Meters | N/A | 5-minute interval load data of all days | N / A | N/A | N/A | N/A | Yes | No | Event-dependent, as specified in dispatch instructions | 5-minute interval metered load | None | None
ISO-NE
ISO-NE | ISO-NE-Type1-WSA-Symmetric | Baseline Type-I | 90% of the prior qualifying baseline + 10% of the previous qualifying day (five minute increment) (similar to a 10 day rolling average) | Five minute interval load data of qualifying days | N / A | Exclude weekends, holidays and any weekdays where a curtailment event occurred within the Baseline Window {ISO-NE changed some exclusion days in 2012 ,see Docket No. ER11-4336-000} | Weather-Sensitive Adjustment (Symmetric) {ISO-NE changed adjustment method in 2012 ,see Docket No. ER11-4336-000, and in 2014, changed the adjustment method to include a real-time dynamic adjustment beginning June 1, 2017, see Docket No. ER15-257-000} | Reduction Deadline - 2.5 Hours (2 Hour Duration) {ISO-NE changed adjustment method to include a real-time dynamic adjustment with a shorter adjustment window (approximately 30 minutes) beginning June 1, 2017, see Docket No. ER15-257-000} | Yes | Optional | Sustained Response Period | 5-Minute Interval Load | M&V alternative subject to ISO-NE approval | None (On-site generation is not prohibited but performance is measured via Load reduction, On-site generation with push back requires special metering configuration per ISO-NE M-MVDR)
ISO-NE | ISO-NE-Type1-Telemetry-Yes | Baseline Type-I | 90% of the prior qualifying baseline + 10% of the previous qualifying day (five minute increment) (similar to a 10 day rolling average) | Five minute interval load data of qualifying days | N / A | Exclude weekends, holidays and any weekdays where a curtailment event occurred within the Baseline Window{ISO-NE changed some exclusion days in 2012 ,see Docket No. ER11-4336-000} | Weather-Sensitive Adjustment (Symmetric) {ISO-NE changed adjustment method in 2012 ,see Docket No. ER11-4336-000, and in 2014, changed the adjustment method to include a real-time dynamic adjustment beginning June 1, 2017, see Docket No. ER15-257-000} | Deployment - 2 Hours {ISO-NE changed adjustment method to include a real-time dynamic adjustment with a shorter adjustment window (approximately 30 minutes) beginning June 1, 2017, see Docket No. ER15-257-000} | Yes | Optional | Sustained Response Period | 5-Minute Interval Load | M&V alternative subject to ISO-NE approval | None (On-site generation is not prohibited but performance is measured via Load reduction)
ISO-NE | ISO-NE-Type1-Telemetry-No | Baseline Type-I | 90% of the prior qualifying baseline + 10% of the previous qualifying day (five minute increment) (similar to a 10 day rolling average) | Five minute interval load data of qualifying days | N / A | Exclude weekends, holidays and any weekdays where a curtailment event occurred within the Baseline Window{ISO-NE changed some exclusion days in 2012 ,see Docket No. ER11-4336-000} | Weather-Sensitive Adjustment (Symmetric) {ISO-NE changed adjustment method in 2012 ,see Docket No. ER11-4336-000, and in 2014, changed the adjustment method to include a real-time dynamic adjustment beginning June 1, 2017, see Docket No. ER15-257-000} | Deployment - 2 Hours {ISO-NE changed adjustment method to include a real-time dynamic adjustment with a shorter adjustment window (approximately 30 minutes) beginning June 1, 2017, see Docket No. ER15-257-000} | No | Yes | Event-dependent, as specified in Notification instructions | Hourly metered load | M&V alternative subject to ISO-NE approval | None (On-site generation is not prohibited but performance is measured via Load reduction)
ISO-NE | ISO-NE-Type2-Telemetry-Yes | Baseline Type-II | Equivalent of the Baseline Window defined for other resources, as approved on a case by case basis | Equivalent of the Calculation Type defined for other resources, as approved on a case by case basis | Accuracy and Precision 80/20 | Equivalent of the Exclusion Rules defined for other resources, as approved on a case by case basis | Equivalent of the Baseline Adjustment defined for other resources, as approved on a case by case basis | Equivalent of the Adjustment Window defined for other resources, as approved on a case by case basis | Yes | Optional | Sustained Response Period | Statistical equivalent of 5 minute or hourly metered load | M&V alternative subject to ISO-NE approval | None (On-site generation is not prohibited but performance is measured via Load reduction)
ISO-NE | ISO-NE-Type2-Telemetry-No | Baseline Type-II | Equivalent of the Baseline Window defined for other resources, as approved on a case by case basis | Equivalent of the Calculation Type defined for other resources, as approved on a case by case basis | Accuracy and Precision 80/10 | Equivalent of the Exclusion Rules defined for other resources, as approved on a case by case basis | Equivalent of the Baseline Adjustment defined for other resources, as approved on a case by case basis | Equivalent of the Adjustment Window defined for other resources, as approved on a case by case basis | No | Yes | Sustained Response Period | Statistical equivalent of 5 minute metered load | M&V alternative subject to ISO-NE approval | None (On-site generation is not prohibited but performance is measured via Load reduction, On-site generation with push back requires special metering configuration per ISO-NE M-MVDR)
ISO-NE | ISO-NE-BMG | Behind-the-Meter Generation | N / A | N / A | N / A | N / A | N / A | N / A | Yes | Optional | Sustained Response Period | 5-Minute Interval Load | None | None
ISO-NE | ISO-NE-BMG-II | Behind-the-Meter Generation | 90% of the prior qualifying baseline + 10% of the previous qualifying day (five minute increment) (similar to a 10 day rolling average) | Five minute interval output data of qualifying days | N / A | Exclude weekends, holidays and any weekdays where a curtailment event occurred within the Baseline Window {ISO-NE changed some exclusion days in 2012 ,see Docket No. ER11-4336-000} | N / A | N / A | Yes | Optional | Sustained Response Period | 5-Minute Interval Output | None | Directly metered DG unit that can produce incrementally more output when instructed and is not limited by air quality permitting
ISO-NE | ISO-NE-MBL | Maximum Base Load | N / A | N / A | N / A | N / A | N / A | N / A | Yes | Yes | Sustained Response Period | 5-minute Interval Load | None | None
ISO-NE | ISO-NE-Symmetric RT Adjusted | Baseline Type-I | Baseline windows for three baseline day types: 10 days for non-holiday weekdays, 5 days for Saturdays, and 5 days for Sundays and holidays | For each baseline day type, calculate the rolling average of 5-minute interval load data from the most recent days on which the resource was not dispatched | N / A | Include a resource's most recent dispatch days if there are less than 10 non-holiday weekdays in the past 30 calendar days, or less than 5 Saturdays or 5 Sunday/holidays in the past 42 calendar days, on which the resource was not dispatched. | Symmetric weather-sensitive adjustment based on real-time load during the three 5-minute intervals just prior to dispatch notification -- see Docket No. ER15-257-000 and ER16-167-000} | Symmetric weather-sensitive adjustment based on real-time load during the three 5-minute intervals just prior to dispatch notification -- see Docket No. ER15-257-000 and ER16-167-000} | Yes | Yes | Sustained Response Period | 5-Minute Interval Load; telemetry and metering must be located at each facility's Retail Delivery Point | None | None (On-site generation is allowed but performance is measured via load reduction, which may reflect net energy injections)
MISO
MISO | MISO-Manual-Metered | Baseline Type-I | Customer / Resource Specific | Customer / Resource Specific | N / A | Customer / Resource Specific | Customer / Resource Specific | Customer / Resource Specific | No | Yes | Sustained Response Period | Customer / Resource Specific | None | None
MISO | MISO-Manual-Sampled | Baseline Type-II | Customer / Resource Specific | Customer / Resource Specific | Customer / Resource Specific | Customer / Resource Specific | Customer / Resource Specific | Customer / Resource Specific | No | Yes | Sustained Response Period | Customer / Resource Specific | None | None
MISO | MISO-10-In-10-Metered | Baseline Type-I | 45 Days | Simple Average | N / A | 10 most recent non-event, like days | Customer Options: None Weather-Sensitive Adjustment Symmetric-Multiplicative Adjustment | 3 Hour Window Ending 1 Hour prior to Deployment (for SMA) | No | Yes | Sustained Response Period | Hourly or 5-min metered load | None | None
MISO | MISO-10-In-10-Sampled | Baseline Type-II | 45 Days | Simple Average | Customer / Resource Specific | 10 most recent non-event, like days | Customer Options: None Weather-Sensitive Adjustment Symmetric-Multiplicative Adjustment | 3 Hour Window Ending 1 Hour prior to Deployment (for SMA) | No | Yes | Sustained Response Period | Hourly or 5-min metered load | None | None
MISO | MISO-BMG | Behind-the-Meter Generation | N / A | N / A | N / A | N / A | N / A | N / A | No | Yes | Sustained Response Period | Customer / Resource Specific | None | None
MISO | MISO-Firm-Service-Level | Maximum Base Load | N / A | N / A | N / A | N / A | N / A | N / A | No | Yes | Sustained Response Period | Customer / Resource Specific | None | None
MISO | MISO-MBMA-Single-Read | Meter Before / Meter After | Meter read before deployment | Single reading | N / A | None | None | None | No | Yes | Sustained Response Period | Customer / Resource Specific | None | None
MISO | MISO-MBMA-Interval-Reads | Meter Before / Meter After | Meter read before deployment plus Host Load Zone Forecast | One-minute interval data | N / A | None | None | None | Yes | Yes | Sustained Response Period | Host Load Forecast - integrated one-minute meter data | None | None
NYISO
NYISO | NYISO-MBL | Maximum Base Load | CAPACITY ONLY: Contracted Maximum Demand Local Generation: per Capability Period | Average Coincident Load (ACL): Average of the top 20 out of the top 40 coincident peak hours from the Prior Equivalent Capability Period. Coincident peak hours exclude demand response event and test hours. | N / A | N / A | N / A | N / A | No | Yes | Event-dependent, as specified in Advance Notification instructions | Hourly interval meter data is collected by a NY PSC-approved Meter Data Service Provider (MDSP) | None | None
NYISO | NYISO-MBMA | Meter Before / Meter After | N / A | N / A | N / A | N / A | N / A | N / A | Yes (with interconnection to Transmission Owner) | Yes | Sustained Response Period | Instantaneous metered load | None | None
NYISO | NYISO-Base1 | Baseline Type-I | WEEKDAY Event: Previous 10 weekdays within the last 30 days, subject to exclusion rules WEEKEND Event: Previous 3 weekends - same day type (e.g. Sat. or Sun.), no exclusions | WEEKDAY Event: Hourly simple average of the 5 highest total event period load days in CBL Window WEEKEND Event: Hourly simple average of the 2 highest total event period load days in CBL Window | N / A | WEEKDAY Events only: Exclude day preceding event, holidays, and any weekdays where a curtailment event occurred within the Baseline Window | Weather-Sensitive Adjustment (Optional), Symmetrical Proportional Adjustment with a maximum of +/- 20% | Advance Notification - 2 Hours | No | Yes | Event-dependent, as specified in Advance Notification instructions | Hourly interval meter data is collected by a NY PSC-approved Meter Data Service Provider (MDSP) | None | None
NYISO | NYISO-Base2 (Small Customer Aggregations) | Baseline Type-II | Equivalent of the Baseline Window defined for other resources (NYISO-6), as approved on a case by case basis | Equivalent of the Calculation Type defined for other resources (NYISO-6), as approved on a case by case basis | Customer / Resource Specific | Equivalent of the Exclusion Rules defined for other resources (NYISO-6), as approved on a case by case basis | Equivalent of the Baseline Adjustment defined for other resources (NYISO-6), as approved on a case by case basis | Customer / Resource Specific | No | As approved on a case by case basis (for EDRP Service) or Equivalent of After-The-Fact Metering defined for other resources (NYISO-6), as approved on a case by case basis (for SCR Service) | Event-dependent, as specified in Advance Notification instructions | Statistical equivalent of hourly metered load | None | None
NYISO | NYISO-Base 3 | Baseline Type-III | WEEKDAY Event: Previous 10 weekdays, no exclusions; proxy value substituted for meter data for prior event hours | WEEKDAY Event: Hourly simple average of the 5th and 6th highest event period load hours in CBL Window WEEKEND Event: Hourly simple average of the 3 highest event period load hours in CBL Window | N / A | N/A | Weather-Sensitive Adjustment (Optional), Symmetrical Proportional Adjustment with a maximum of +/- 20% | Advance Notification - 2 Hours | No | Yes | As scheduled, as specified in Advance Notification instructions | Hourly interval meter data is collected by a NY PSC-approved Meter Data Service Provider (MDSP) | None | None
NYISO | NYISO-BMG | Behind-The-Meter Generation | WEEKEND Event: Previous 3 weekends - same day type (e.g. Sat. or Sun.), no exclusions; proxy value substituted for meter data for prior event hours | WEEKDAY Event: Hourly simple average of the 5 lowest total event period load days in CBL Window WEEKEND Event: Hourly simple average of the 2 lowest total event period load days in CBL Window | N / A | WEEKDAY Events only: Exclude day preceding event, holidays, and any weekdays where a curtailment event occurred within the Baseline Window | N / A | N / A | No | Yes (if unit is not net metered) | Event-dependent, as specified in Advance Notification instructions | Hourly metered output | None | No base load generators permitted in SCR program and EDRP
PJM
PJM | PJM-Base1 | Baseline Type-I | 45 calendar days | Hourly average based on high 4 of 5 days for weekdays and high 2 of 3 for Saturday or Sun/Holiday. | N / A | Event days, different day types, event usage threshold < 25% | Weather-Sensitive Adjustment OR Symmetric Additive Adjustment | 3 Hour Window Ending 1 Hour prior to Deployment | No | Yes | Sustained Response period or optionally Deployment Period (Participant Selection) | Hourly Meter relative to CBL | Based on specific resource | None (On-site generation is not prohibited but performance is measured via Load reduction)
PJM | PJM-Base2 | Baseline Type-II | Approved on case by case basis or may use published deemed savings study | Approved on case by case basis or may use published deemed savings study | Approved on case by case basis or may use published deemed savings study | Approved on case by case basis or may use published deemed savings study | Approved on case by case basis or may use published deemed savings study | Approved on case by case basis or may use published deemed savings study | No | Yes | Sustained Response period or optionally Deployment Period (Participant Selection) | Hourly Meter relative to CBL | None | None (On-site generation is not prohibited but performance is measured via Load reduction)
PJM | PJM-MBL | Maximum Base Load | N / A | N / A | N / A | N / A | N / A | N / A | No | Yes | Sustained Response Period | Average over Performance Window | None | None (On-site generation is not prohibited but performance is measured via Load reduction)
PJM | PJM-MBMA-Energy | Meter Before / Meter After | Sustained Response Period - 1 Hour | Single Reading (with special processing) | N / A | CBL substitution if resource already on economic deployment | None | None | No | Yes | Sustained Response Period | Average over Performance Window | None | None (On-site generation is not prohibited but performance is measured via Load reduction)
PJM | PJM-MBMA-Reserve | Meter Before / Meter After | Deployment - 1 Minute | Single Reading (with special processing) | N / A | None | None | None | No | Yes | Sustained Response Period | Average over Performance Window | Specific rules for facilities with batch processing | None (On-site generation is not prohibited but performance is measured via Load reduction)
PJM | PJM-MBMA-Reg | Meter Before / Meter After | 2 Second Scan Rate following signal | Single Reading (with special processing) | N / A | None | None | None | Yes | Yes | Sustained Response Period | Average over Performance Window | None | None (On-site generation is not prohibited but performance is measured via Load reduction)
PJM | PJM-BMG | Behind-the-Meter Generation | N / A | N / A | N / A | N / A | N / A | N / A | No | Yes | Sustained Response Period | Settlement on Hourly Meter Read | None | None
PJM | PJM-Alternate | Baseline Type-I | Alternative calculations available as appropriate based on specific load conditions as long as it will significantly improve accuracy compared to standard method & can be effectively administered in the market | Alternative calculations available as appropriate based on specific load conditions as long as it will significantly improve accuracy compared to standard method & can be effectively administered in the market | N / A | Alternative calculations available as appropriate based on specific load conditions as long as it will significantly improve accuracy compared to standard method & can be effectively administered in the market | Alternative calculations available as appropriate based on specific load conditions as long as it will significantly improve accuracy compared to standard method & can be effectively administered in the market | Alternative calculations available as appropriate based on specific load conditions as long as it will significantly improve accuracy compared to standard method & can be effectively administered in the market | No | Yes | Sustained Response period or optionally Deployment Period (Participant Selection) | Hourly Meter relative to CBL | Alternative calculations available as appropriate based on specific load conditions as long as it will significantly improve accuracy compared to standard method & can be effectively administered in the market | None (On-site generation is not prohibited but performance is measured via Load reduction)
SPP
SPP | SPP-BMG | Behind-the-Meter Generation | N / A | N / A | N / A | N / A | N / A | N / A | Yes | Yes | 5 Minutes & Hourly | Actual vs. Setpoint | None | None
SPP | SPP-Submitted | Baseline Type-I | Customer / Resource Specific | Customer / Resource Specific | N / A | Customer / Resource Specific | Customer / Resource Specific | Customer / Resource Specific | Yes | Yes | 5 Minutes & Hourly | Actual vs. Setpoint | None | None
SPP | SPP-Calculated | Baseline Type-I | Average of the hourly integrated Demand Response Load for the same hours in the last 30 calendar days when the Resource was not dispatched, adjusted by the Market Participant as necessary to account for changes in the expected level of energy consumption by the Demand Response Load | Straight Average | N / A | Different day types, or Dispatch Days, or daily usage <25% of average usage | Instantaneous load minus Customer Supplied Baseline (Asymmetric) | Last SCADA reading before Deployment | Yes | Yes | 5 Minutes & Hourly | Actual vs. Setpoint | None | None
SPP | SPP-REG | Meter Before / Meter After | N / A | N / A | N / A | N / A | N / A | N / A | Yes | Yes | 5 Minutes & Hourly | Actual vs. Setpoint | None | None
SPP | SPP-Reserve | Meter Before / Meter After | N / A | N / A | N / A | N / A | N / A | N / A | Yes | Yes | 5 Minutes & Hourly | Actual vs. Setpoint | None | None

## Acronyms
Acronym | Term | Region | Definition or Link to Relevant Documentation
Market Participant Roles (Column Headings, Taken from NIST PAP-09 Glossary)
DDE | Designated Dispatch Entity | N / A | A role which carries the responsibility of receiving and processing demand resource dispatch instructions or market information and (optionally) providing response information.
LSE | Load Serving Entity | N / A | A role which carries the responsibility of serving electric energy to end-user.
MA | Metering Authority | N / A | A role which carries the responsibility of providing electric usage data necessary to determine the performance of a Resource.
SE | Scheduling Entity | N / A | A role which carries the responsibility of submitting bids/offers and receives Schedules and Awards.
SP | Service Provider | N / A | A role which carries the responsibility of coordinating resources to deliver electricity products and services to a market or distribution operator.
TDSP | Transmission / Distribution Service Provider | N / A | A role which carries the responsibility of operating a local electricity transmission and/or distribution system.
Market Participant Roles (Regional Terms found in rows for individual products/services)
CSP | Curtailment Service Provider | NYISO & PJM
DDE | Demand Designated Entity | ISO-NE
DFO | Distribution Facility Owner | AESO
DRP | Demand Reduction Provider | CAISO & NYISO
EDC | Electric Distribution Company | PJM
ESP | Electric Service Provider | CAISO
LBA | Local Balancing Authority | MISO
MA | Meter Authority | ISO-NE
MDSP | Meter Data Service Provider | NYISO
MSP | Meter Service Provider | IESO
MSP | Meter Service Provider | NYISO
NIM | Market Information Management | IESO
QSE | Qualified Scheduling Entity | ERCOT
RIP | Responsible Interface Party | NYISO
SC | Scheduling Coordinator | CAISO
TFO | Transmission Facility Owner | AESO
TO | Transmission Owner | NYISO & PJM
UDC | Utility Distribution Company | CAISO
System References
ADAMS | Automated Dispatch and Messaging System | AESO | http://www.aeso.ca/market/19376.html
ADS | Automated Dispatch System | CAISO | http://www.caiso.com/clientserv/ads/index.html
CAMS | Customer & Asset Management System | ISO-NE | http://www.iso-ne.com/support/faq/cams/ http://www.iso-ne.com/support/user_guides/cams_da_dr_maint_ug.pdf
CFE | Communications Front End | ISO-NE | http://www.iso-ne.com/rules_proceds/operating/isone/op18/op18f_rto_final.pdf
DART | Day-Ahead Real-Time | MISO
DNP3 | Distributed Network Protocol | N / A | http://www.dnp.org/
DRMUI | Demand Response Market User Interface | ISO-NE | http://www.iso-ne.com/support/user_guides/dr_mui_user_guide.pdf
DRS | Demand Response System | CAISO
DRT | Demand Response Tool | MISO | https://www.misoenergy.org/Library/Repository/Procedure/Market%20Participant%20Registration/Demand%20Response%20Tool%20User%20Guide.pdf
EDI | Electronic Data Interface | ERCOT
eLRS | Electronic Load Response System | PJM | http://pjm.com/markets-and-operations/etools/elrs.aspx
eRPM | Electronic Reliability Pricing Model | PJM | http://pjm.com/markets-and-operations/etools/erpm.aspx
FCTS | Forward Capacity Tracking System | ISO-NE | http://www.iso-ne.com/rules_proceds/isone_mnls/index.html see manual M-20 Forward Capacity Market which lists data submitted via FCTS. Access to FCTS must be requested.
IBCS-OS | Internet-Based Communication System - Open Solution | ISO-NE | Inactive
ICCP | Inter-Control Center Communications Protocol | N / A | http://webstore.iec.ch/webstore/webstore.nsf/mysearchajax?Openform&key=IEC%2060870-6&sorting=&start=1
MIM | Market Information Management | IESO | http://www.ieso.ca/imoweb/pubs/ti/MP_Submissions/it_idkManual.pdf
MIS | Market Information System | ERCOT
MIS | Market Information System | NBSO
MIS | Market Information System | NYISO
MPI | Market Participant Interface | IESO | http://www.ieso.ca/imoweb/pubs/ti/MP_Submissions/IMO_GDE_0003_MPGUI-guide.pdf
MRUI | Meter Reader User Interface | ISO-NE | Not currently used for Demand Response
NGX | Natural Gas Exchange | AESO | http://www.watt-ex.com/index.html
OMAR | Operational Meter Analysis and Reporting | CAISO | http://www.caiso.com/market/Pages/MeteringTelemetry/Default.aspx
HDR | Hourly Demand Response | IESO
DL | Dispatchable Load | IESO

## Definitions
Terms used in this document are taken from the Business Practices for Measurement and Verification of Wholesale Electricity Demand Response available to NAESB members via the following hyperlink:
http://www.naesb.org/member_login_form.asp?doc=fa_weq_2008_api5a.doc
Clarification of other terms utilized:
Resource-Specific Deployment | The System Operator issues dispatch instructions to one or more discrete unique resources designated to provide the demand response service. A defined communication channel is required. Real-time two-way communication is optional.
Bulk Deployment | The System Operator issues dispatch instructions to a group or block of resources designated to provide the demand response service. A defined communication channel is required. Real-time two-way communication is optional.
Self Deployment | Deployment of resources is automatic or initiated by the resource or aggregator and not initiated by the System Operator via a defined communication channel. Rather, the resource responds to signals such as real-time electrical system conditions, real-time economic conditions, or market outcomes. Real-time communication is optional.

## Timing Examples
|  |  | Advance Notification(s) | Deployment | Ramp Period | Reduction Deadline
1 | Day-Ahead Energy | The ISO/RTO notifies a CSP at 4:00 the day before an event to begin ramping down at 2:00 with the load required to be off the system at 2:30 | 4:00 (day before) | 2:00 | 30 Minutes | 2:30
2 | Emergency Energy or 30-Minute Reserve | The ISO/RTO calls a CSP at 2:00 and states that load must be off the system by 2:30 | - | 2:00 | 30 Minutes | 2:30
3 | Day-Ahead Energy | The ISO/RTO clears a resource at 4:00 the day before for a 2:00 event. | 4:00 (day before) | 2:00 | - | 2:00
4 | 10-Minute Reserve | The ISO/RTO calls a resource enrolled for 10-minute reserve from the control room at 2:15 to responds to a reduction request | - | 2:15 | 10 Minutes | 2:25
5 | Balancing Energy | The ISO/RTO uses a powerflow algorithm to calculate setpoints and sends these new targets to the demand resource every 5 minutes, beginning at 1:55. | - | 1:55, 2:00, 2:05… | 5 Minutes | 2:00, 2:05, 2:10…
6 | Day-Ahead Energy | A 10 MW demand resource can be curtailed to 5 MW under a price-responsive bid. The resource clears for the 2:00 hour in day-ahead at 8 MW and is notified through the DA final schedule at 4:00 (day-ahead). The resource has 30 minute startup time and a ramp limitation of 0.2 MW/min. (Detailed example of #3) | 4:00 (day before) | 2:00 | - | 2:00
7 | Balancing Energy | Same scenarios as above, however the remaining 3 MW of potential load drop is offered as real-time imbalance energy and, in real-time, the ISO/RTO selects the imbalance bid and dispatches the resource to 5 MW. | 4:00 (day before for day schedule) & 1:30 (for imbalance) | 2:00 | 15 minutes | 2:15